**Інформація, отримана з іноземних систем повідомлення про продукцію, що становить серйозний ризик, за період 01.01.2022 – 31.03.2022**

**Швейцарія**

## <https://fsca.swissmedic.ch/mep/#/>

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 31.03.2022  | Philips Medical Systems | Esophageal/Rectal Temperature Probes  | MD: General-purpose patient temperature probe, reusable | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220328_14/documents/0)  | Vk\_20220328\_14  |
| 15.02.2022 (Updated 31.03.2022)  | Advanced Medical Solutions Limited | LiquiBand Fix 8 Model: FX002 Lot: P00221182, P00221313, P00221396, P00221600, P00221756, P00221983, P00225605, P00225801, P00226740  | MD: Surgical internal adhesive/sealant, synthetic polymer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_31/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_31/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_31/documents/2)  | Vk\_20220211\_31  |
| 30.03.2022  | Becton Dickinson S.A. | BD Plastipak Luer-Lok Syringe Model: 300865 Lot: All  | MD: General-purpose syringe, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_14/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_14/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_14/documents/3)  | Vk\_20220322\_14  |
| 29.03.2022  | Medtronic Inc. | IN.PACT Admiral Model: See FSN Lot: See FSN S/N: All  | MD: Peripheral angioplasty balloon catheter, drug-coated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_14/documents/1)  | Vk\_20220323\_14  |
| 25.03.2022  | SHIMADZU Corporation | SONIALVISION G4 S/N: See FSN Serialnumbers FLUOROspeed S/N: See FSN Serialnumbers  | MD: X-ray system, diagnosticMD: X-ray system, diagnostic | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220316_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220316_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220316_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220316_15/documents/3)  | Vk\_20220316\_15  |
| 21.02.2022 (Updated 24.03.2022)  | Silony Medical GmbH | VERTICALE SI Screw Driver outer sleeve Model: VI-6700.2 Lot: 798504IN0120; 798403IN0120; 023901IN0421; 024001IN0421  | MD: General internal orthopaedic fixation system implantation kit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220214_31/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220214_31/documents/1)  | Vk\_20220214\_31  |
| 23.03.2022  | Mathys Ltd Bettlach | balanSys REV stem screw Model: 79.15.0062 Lot: all S/N: 79.15.0062  | MD: Knee femur stem prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_18/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_18/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_18/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_18/documents/3)  | Vk\_20220318\_18  |
| 23.03.2022  | Draeger Medical Systems, Inc. | Infinity Central Station SW-Version: VG2.1.2, VG2.1.2 SU1  | MD: Centralized patient monitor | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_29/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_29/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_29/documents/2)  | Vk\_20220311\_29  |
| 22.03.2022  | RaySearch Laboratories AB (publ) | RayCare Model: 5A, 5A SP1, 5B SW-Version: 5.0.0.60390, 5.0.1.60052, 5.1.0.61073  | MD: Radiology information system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_15/documents/3)  | Vk\_20220321\_15  |
| 15.03.2022 (Updated 22.03.2022)  | Getinge Disinfection AB | Getinge 9100-series - Washer Disinfector Model: 9120E, 9122EW, 9125E, 9127E, 9128E, 9128EW S/N: All 91xxE/ EW-models manufactured since start 2017 until 2021-12-21  | MD: Surgical utensil washer/disinfector | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_31/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_31/documents/1)  | Vk\_20220311\_31  |
| 16.03.2022 (Updated 22.03.2022)  | Abbott Laboratories | ARCHITECT STAT Myoglobin Calibrators Model: 2K43-01 Lot: 166000  | IVD: Myoglobin IVD, calibrator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_23/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_23/documents/1)  | Vk\_20220309\_23  |
| 15.03.2022 (Updated 21.03.2022)  | Abbott Vascular | 20/30 INDEFLATOR, Plus 30 INDEFLATOR, Priority Packs Model: 1000183, 1000184, 1000185, 1000186, 1000185-115, 1000186-115, 1003327 Lot: See FSN SW-Version: Not Applicable  | MD: Catheter/overtube balloon inflator, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_08/documents/7)  | Vk\_20220310\_08  |
| 17.03.2022  | HUM Gesellschaft für Homecare und Medizintechnik mbH | AEROpart O2-Brille B Model: HSB01-B Lot: Zeitraum: 01.01.2017 - 01.01.2022 (Alle Produkte der letzten 5 Jahre sind betroffen)  | MD: Cannulae, Nasal, Oxygen Supply | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_14/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_14/documents/1)  | Vk\_20220308\_14  |
| 08.12.2021 (Updated 17.03.2022)  | Helena Biosciences Europe | V8 Model: V8; 800008, 800018, 800020  | IVD: Electrophoresis analyser IVD, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211206_06/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211206_06/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211206_06/documents/2) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211206_06/documents/3)  | Vk\_20211206\_06  |
| 16.03.2022  | Z-Medica LLC (Subsidiary of Teleflex Incorporated) | QuikClot Interventional Hemostatic Bandage Model: 183, 188 Lot: Refer to FSN  | MD: Non-organic haemostatic agent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_02/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_02/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_02/documents/3)  | Vk\_20220311\_02  |
| 16.03.2022  | GE Medical Systems LLC | Signa 1.5T TwinSpeed, Signa 1.5T Excite HD, 1.5T Signa HDx, 1.5T Signa HDxt, 1.5T Signa HDxt mobile Signa 3.0T Excite HD, Signa Excite 3T, 3.0T Signa HDx, 3.0T Signa HDxt  | MD: Full-body MRI system, superconducting magnetIVD: Full-body MRI system, superconducting magnet | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_03/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_03/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_03/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_03/documents/3)  | Vk\_20220309\_03  |
| 08.03.2022 (Updated 16.03.2022)  | Abbott Molecular Inc. | Alinity m HBV AMP Kit Model: 08N47-090; (US and Hong Kong only: 08N47-095) Lot: Not Lot specific  | IVD: Hepatitis B virus nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_02/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_02/documents/2)  | Vk\_20220308\_02  |
| 22.02.2022 (Updated 16.03.2022)  | RaySearch Laboratories AB (publ) | RayStation Model: RayStation 4 - 11B and RayPlan 1, 2, 7 - 11B and Service Packs SW-Version: see FSN  | MD: Radiation therapy software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_70/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_70/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_70/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_70/documents/3)  | Vk\_20220217\_70  |
| 14.03.2022 (Updated 15.03.2022)  | FIAB SpA | Pads for Defibrillation "Bexen Cardio" Model: KSA 0501D Lot: 19DF1690, 19DF1846, 19DF2085, 20DF0160, 20DF0854, 20DF1178, 20DF1738, 20DF1958, 20DF2507, 21DF0039, 21DF0858, 21DF1450, 21DF1711, 21DF2025  | MD: Defibrillator electrode, external, single-use | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_30/documents/0) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_30/documents/1) [EN-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220311_30/documents/2)  | Vk\_20220311\_30  |
| 15.03.2022  | Philips Medical Systems Nederland BV | Philips Hemodynamic System Model: 722463 SW-Version: R1.2.2, R1.2.3  | MD: Haemodynamic monitoring system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_27/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_27/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220309_27/documents/2)  | Vk\_20220309\_27  |
| 09.03.2022 (Updated 14.03.2022)  | Siemens Healthcare Diagnostics Inc | Atellica IM/ADVIA Centaur Enhanced Estradiol (eE2) Model: 10995561, 10995562, 10490889, 10491445 Lot: All Lots  | IVD: Estradiol (oestradiol) (E2) IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220307_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220307_13/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220307_13/documents/2)  | Vk\_20220307\_13  |
| 08.03.2022 (Updated 14.03.2022)  | Mikrogen GmbH | recomScan Software Model: 31006, 31013 SW-Version: 3.4  | IVD: software for avidity test systems | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_21/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_21/documents/1)  | Vk\_20220304\_21  |
| 01.03.2022 (Updated 14.03.2022)  | Edwards Critical-Care Division | Fore-Sight Elite Tissue Oximeter Module Model: HEMFSM10 S/N: All serial numbers Fore-Sight Elite Absolute Tissue Oximeter Monitor Model: 01-06-3000 S/N: All serial numbers  | MD: General-purpose multi-parameter bedside monitorMD: Tissue saturation oximeter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220301_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220301_01/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220301_01/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220301_01/documents/3)  | Vk\_20220301\_01  |
| 11.03.2022  | B. Braun Melsungen AG | Vasofix Safety, Vasofix Certo Model: 4269071S-01, 4269071 Lot: See FSN  | MD: Peripheral vascular infusion catheter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_17/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_17/documents/2)  | Vk\_20220308\_17  |
| 11.03.2022  | Corin Medical Ltd. | Trinity Acetabular Hip System Model: 921.109; Not applicable Lot: 87765, 26626, 83897, 25250, 24097, 80688, 23185, 22593, 77157, 75953, 20751, 69875, 69253, 17162, 22416, 68747, BL69809-13, BL69956-14, 64227, 63690, BL68271-13, 63215, 62073, 59388, 59387, 59346, 59229, 58396, 58141, 58204, 57391, 57559, 56454, 54825, 54 S/N: Not applicable  | MD: Surgical depth gauge, reusable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_06/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_06/documents/1)  | Vk\_20220223\_06  |
| 08.03.2022 (Updated 09.03.2022)  | Philips Medical Systems | Adult SMART Pad Model: M5071A Infant/Child SMART Pad Model: M5072A  | MD: External defibrillator electrode, adult, single-useMD: External defibrillator electrode, paediatric, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_16/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_16/documents/3)  | Vk\_20220303\_16  |
| 09.03.2022  | Siemens Healthcare GmbH | syngo.via RT Image Suite Model: 11546118 S/N: Siemens CT and syngo.via-Servers running the software syngo.via RT Image Suite, upgraded from earlier versions to VB60, are affected.  | MD: CT system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220301_19/documents/0)  | Vk\_20220301\_19  |
| 02.03.2022 (Updated 09.03.2022)  | Siemens Healthcare Diagnostics Inc | Atellica 1500 Automated Urinalysis System Model: SMN 11065004 S/N: All SW-Version: All versions Atellica UAS 800 Analyzer Model: SMN 11065004 S/N: All SW-Version: All versions  | IVD: Urine analyser IVD, laboratory, automatedIVD: Urine analyser IVD, laboratory, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220225_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220225_20/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220225_20/documents/2)  | Vk\_20220225\_20  |
| 08.03.2022  | Intuitive Surgical, Inc | Endowrist Vessel Sealer Extend; SynchroSeal Model: 480422; 480440  | MD: Robotic electrosurgical instrument, bipolar, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_12/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_12/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_12/documents/3)  | Vk\_20220308\_12  |
| 08.03.2022  | Schiller AG | FRED easyport plus Model: 3.940060, 3.940066, 3.940063; 0A.900000 S/N: see FSN SW-Version: all versions before 1.2.2  | MD: Non-rechargeable professional semi-automated external defibrillator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_15/documents/3)  | Vk\_20220304\_15  |
| 08.03.2022  | RaySearch Laboratories AB (publ) | RayStation Model: RayStation 11A, RayStation 11B, RayTreat 5A, RayTreat 5B including some service packs SW-Version: 11.0.0.951, 11.0.1.29, 11.0.3.116, 12.0.0.932  | MD: Radiation therapy software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_06/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_06/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_06/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220304_06/documents/3)  | Vk\_20220304\_06  |
| 08.03.2022  | Boston Scientific Corporation | EXALT Model D Single-Use Duodenoscope Model: M00542420, M00542421, M0054242CE0, M0054242CE1 Lot: All SW-Version: N/A  | MD: Flexible video duodenoscope, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_27/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_27/documents/1)  | Vk\_20220303\_27  |
| 08.03.2022  | SENTINEL CH SpA | CALiaGold Control Set Model: 1151200 Lot: 10948, 11025, 11165  | IVD: Calprotectin IVD, control | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220303_19/documents/0)  | Vk\_20220303\_19  |
| 07.03.2022  | Siemens Healthcare GmbH, HC SV DS, | Artis zee Artis Q Artis Q.zen  | MD: Stationary angiographic x-ray system, digitalMD: Stationary angiographic x-ray system, digitalMD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_16/documents/2)  | Vk\_20220224\_16  |
| 22.02.2022 (Updated 07.03.2022)  | Hill-Rom, Inc. | Compella Bariatric Bed and Controller Model: P7800 P7810 S/N: Q061CB0021 to W355CB4154  | MD: Bariatric Bed | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_01/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_01/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_01/documents/3)  | Vk\_20220222\_01  |
| 22.02.2022 (Updated 07.03.2022)  | Bode Chemie GmbH | Dismozon plus Model: 981187 / 981257  | MD: Medical device disinfection agent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220221_06/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220221_06/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220221_06/documents/2)  | Vk\_20220221\_06  |
| 04.03.2022  | Fuhrmann GmbH | Positioning Aids Model: 300000, 300300 Lot: 30136796, 30136748, 30137046, 30137161, 30137292, 30137362, 30137866  | MD: Positioning Aids | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_16/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_16/documents/1)  | Vk\_20220223\_16  |
| 01.03.2022 (Updated 04.03.2022)  | ImplanTec GmbH | ANA.NOVA Alpha Schaft Model: All Lot: All  | MD: Prosthesis, joint, hip, femoral component | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_10/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_10/documents/2)  | Vk\_20220222\_10  |
| 02.03.2022  | Boston Scientific Corporation | SpaceOAR and SpaceOAR Vue Systems Model: SO-1010; SV-1010 Lot: All S/N: All  | MD: Radiotherapy protection spacer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_19/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_19/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_19/documents/2)  | Vk\_20220224\_19  |
| 02.03.2022  | Siemens Healthcare Diagnostics Products Limited | IMMULITE 2000 HCG Model: L2KCG2, L2KCG6 Lot: All lots S/N: N/A SW-Version: N/A  | IVD: Total human chorionic gonadotropin (HCG) IVD, kit, chemiluminescent immunoassay | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_15/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_15/documents/1)  | Vk\_20220224\_15  |
| 24.02.2022 (Updated 02.03.2022)  | Cipher Surgical Ltd | OpClear Disposable Procedure Kit Model: CS-SZ10-00, CS-SZ10-30, CS-SR10-00, CS-SR10-30 Lot: A26/2/0041/21Y, A25/2/0041/21Z, A28/2/0041/21W, A27/2/0041/21X  | MD: Endoscope lens cleaner, gas/fluid, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_26/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_26/documents/1)  | Vk\_20220218\_26  |
| 02.03.2022  | Siemens AG Healthcare | syngo Application Sotfware Model: Artis pheno, Artis icono biplane, Artis icono floor SW-Version: VE20  | MD: Basic diagnostic x-ray system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_28/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_28/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_28/documents/2)  | Vk\_20220215\_28  |
| 01.03.2022  | Meridian Bioscience, Inc. | Revogene Model: 610210, 130840 S/N: All  | IVD: Integrated systems for nucleic acid extraction/amplification/detection | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220224_20/documents/0)  | Vk\_20220224\_20  |
| 01.03.2022  | Liko AB | UNIVERSAL TWINBAR 670 Model: 3156087, P3156087, Liko M230 - model 2050015 (serial number 5361393-5362761)  | MD: Overhead track patient lifting/transfer system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_02/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_02/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220223_02/documents/3)  | Vk\_20220223\_02  |
| 01.03.2022  | Illumina, Inc | NextSeq 550Dx Model: 20005715 S/N: NDX550427 and below  | IVD: Nucleic acid sequence analyser IVD, next-generation sequencing (NGS) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_09/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220222_09/documents/3)  | Vk\_20220222\_09  |
| 18.02.2022 (Updated 01.03.2022)  | NeuMoDx Molecular, a QIAGEN Company | NeuMoDx Cartridge Model: 100100 Lot: 115424, 115425, 115426, 115427, 115429, 115431 S/N: N/A  | IVD: Microplate IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_57/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_57/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_57/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220217_57/documents/3)  | Vk\_20220217\_57  |
| 28.02.2022 (Updated 01.03.2022)  | Siemens AG Healthcare | ARTIS icono / pheno  | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_30/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_30/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_30/documents/2)  | Vk\_20220215\_30  |
| 17.02.2022 (Updated 01.03.2022)  | Maquet Critical Care AB | Servo-u Model: 6694800 Servo-n Model: 6688600  | MD: General-purpose intensive-care ventilatorMD: Neonatal/adult intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_13/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_13/documents/2)  | Vk\_20220210\_13  |
| 15.02.2022 (Updated 01.03.2022)  | Philips Medical Systems | Esophageal/Rectal Temperature Probes Model: 21075A, 21076A, 21078A, 989803162621, 989803162631, 989803162641  | MD: General-purpose patient temperature probe, reusable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_02/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_02/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_02/documents/3)  | Vk\_20220209\_02  |
| 09.02.2022 (Updated 01.03.2022)  | Pulsion Medical Systems SE | PiCCO Monitoring Kit + ProAQT Sensor Model: see Annex II Lot: see Annex II  | MD: Invasive blood pressure transducer set | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_28/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_28/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_28/documents/2)  | Vk\_20220203\_28  |
| 01.03.2022  | Welch Allyn Inc. | Q-Stress / XScribe, HScribe / Vision Express, RScribe, DCS / Connex Cardio SW-Version: See FSN  | MD: Electrocardiographic long-term ambulatory recording analyser application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220110_07/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220110_07/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220110_07/documents/2)  | Vk\_20220110\_07  |
| 01.03.2022  | HYPHEN BioMed SAS | HEMOCLOT Quanti. V-L Model: CK065K Lot: FA091617  | IVD: Activated protein C resistant factor V (factor V Leiden) IVD, kit, clotting | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211227_13/documents/0)  | Vk\_20211227\_13  |
| 03.12.2021 (Updated 01.03.2022)  | Maquet Critical Care AB | Flow-i C30 Model: 6888530 Flow-i C20 Model: 6888520 Flow-i C40 Model: 6888540 Flow-c Model: 6887700 Flow-e Model: 6887900  | MD: Anaesthesia workstation, general-purposeMD: Anaesthesia workstation, general-purposeMD: Anaesthesia workstation, general-purposeMD: Anaesthesia workstation, general-purposeMD: Anaesthesia workstation, general-purpose | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211126_01/documents/7)  | Vk\_20211126\_01  |
| 22.02.2022 (Updated 24.02.2022)  | Deerfield Imaging, inc | HFD100 - ORT400 Imperial Model: 118704-000 (component), 119629-000 (HFD100 top level) S/N: Mount Clamp (118704-000): 10007558, 10008865, 10010675  | MD: Skull clamp | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220221_16/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220221_16/documents/1)  | Vk\_20220221\_16  |
| 22.02.2022 (Updated 24.02.2022)  | Abbott Molecular Inc. | Integrated Reaction Unit (IRU) Model: 09N26-010 Lot: 766233, 770433, 771200, 771201, 773642  | IVD: General laboratory assay tray | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_26/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_26/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_26/documents/2)  | Vk\_20220215\_26  |
| 14.12.2021 (Updated 24.02.2022)  | Abbott Molecular Inc. | Alinity m System Model: 08N53-002 S/N: All instruments  | IVD: Thermal cycler nucleic acid amplification analyser IVD, laboratory, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/3) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/4) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211208_03/documents/5)  | Vk\_20211208\_03  |
| 22.02.2022 (Updated 23.02.2022)  | NISSHA MEDICAL TECHNOLOGIES SAS | Clarevue PM Model: 50401, 50500, 50502, 50507, 50600, 50601, 50602, 50603, 50604  | MD: Ecg Electrodes | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_27/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_27/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220215_27/documents/2)  | Vk\_20220215\_27  |
| 22.02.2022  | SEBIA | CAPI 3 IMMUNOTYPING Model: 2600 Lot: 18111/01  | IVD: Multiple clinical chemistry protein IVD, reagent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220216_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220216_13/documents/1)  | Vk\_20220216\_13  |
| 22.02.2022  | Siemens Healthcare Diagnostics Inc. | Calcium\_2 (CA\_2) reagents Model: 11097644 Lot: All lots Enzymatic Hemoglobin A1c (A1c\_E) reagents Model: 11097536 Lot: All lots Fructosamine (Fruc) reagents Model: 11097637 Lot: All lots Lithium\_2 (LITH\_2) reagents Calcium\_2 (CA\_2) reagents Fructosamine (Fruc) reagents Model: 11532401 Lot: All lots  | IVD: Calcium (Ca2+) IVD, kit, spectrophotometryIVD: Glycated haemoglobin (HbA1c) IVD, kit, enzyme spectrophotometryIVD: Fructosamine IVD, kit, enzyme spectrophotometryIVD: Lithium therapeutic drug monitoring IVD, kit, atomic spectroscopy | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_18/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_18/documents/1)  | Vk\_20220210\_18  |
| 21.02.2022  | Instrumentation Laboratory Co. | HemosIL AcuStar ADAMTS 13 Model: 0009802048 Lot: B33919, B33919, B834173, B34353, B834520  | IVD: Special Coagulation Tests | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_33/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_33/documents/1)  | Vk\_20220211\_33  |
| 08.02.2022 (Updated 21.02.2022)  | DiaSys Diagnostic Systems GmbH | oneHbA1c IS Model: 1 3329 99 10 760 Lot: Lot: 03 101 26, Kit Lot: 60148641 S/N: N/A  | IVD: Glycosylated/Glycated Haemoglobin | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_26/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_26/documents/1)  | Vk\_20220203\_26  |
| 02.02.2022 (Updated 21.02.2022)  | Getinge Disinfection AB | ED-FLOW, ED-FLOW SD Model: ED-FLOW, ED-FLOW SD S/N: All ED-Flows manufactured since start 2010 until 2021-10-20  | MD: Endoscope washer/disinfector | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_12/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_12/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_12/documents/2)  | Vk\_20220131\_12  |
| 08.09.2021 (Updated 21.02.2022)  | Smiths Medical ASD, Inc. | Level 1 NORMOFLO Irrigation Fluid Warmer Model: H-1100, H-1129 Lot: All S/N: All SW-Version: N/A Level 1 Fluid Warmer Model: H-1025, H-1028, H-1200 Lot: All Level 1 Fast Flow Fluid Warmer Model: H-1000, H-500 Lot: All Level 1 NORMOFLO Irrigation Fluid Warming Set Model: IR-40, IR-500, IR-600, IR-700, IRI-600, IRI-600B Lot: All Level 1 Normothermic I.V. Fluid Administration Set Model: D-100, D-300, D-50, D-60HL, DI-100, DI-300, DI-50, DI-60HL, D-70, DI-70 Lot: All H-2 Level 1 - Pressure Chamber Model: 7204012, 7204016, 7204017, 7204018, 7204019, 7204020, 7204030, 7204031, 7204034, 7204036, 7204037, 7204068, 7204066, 7204074 Lot: All Level 1 - High-Flow 3 Way Stopcock Model: SC-3 Lot: All Level 1 - High Flow Extension Line Model: X-36 Lot: All Level 1 - High Flow Extension with Injection Site Model: Y-INJ Lot: All Level 1 - High Flow Y-Type Extension Model: Y-30 Lot: All Level 1 - Gas Vent/Filter Assembly Replacement Model: F-10, F-30 Lot: All Level 1 - Patient Line Sets Model: PL-6, PL-7 Lot: All  | MD: Convection blood/fluid warmer, high-flowMD: Convection blood/fluid warmer, high-flowMD: Convection blood/fluid warmer, high-flowMD: Heat-exchanging intravenous administration setMD: Heat-exchanging intravenous administration setMD: Intravenous pressure infusor, automatedMD: Intravenous line stopcockMD: Intravenous administration tubing extension setMD: Intravenous administration tubing extension setMD: Intravenous administration tubing extension setMD: Intravenous line filterMD: Heat-exchanging intravenous administration set | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/5) [EN-0](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/6) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/7) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210816_02/documents/8)  | Vk\_20210816\_02  |
| 23.08.2021 (Updated 21.02.2022)  | Immunotech S.A.S. | Access hsTnI Reagent (High Sensitivity Troponin I) Model: B52699 Lot: All  | IVD: Troponin I IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/3) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/4) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_09/documents/5)  | Vk\_20210809\_09  |
| 18.02.2022  | bioMérieux SA | VIDAS CMV IgM Model: 30205 / 30205-01 Lot: 1008873250 - Expiry Date 01JUN2022, 1008873260 - Expiry Date 01JUN2022, 1008988860 - Expiry Date 27JUL2022, 1009095380 - Expiry Date 27SEP2022  | IVD: Cytomegalovirus (CMV) immunoglobulin M (IgM) antibody IVD, kit, enzyme immunoassay (EIA) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_14/documents/1)  | Vk\_20220210\_14  |
| 18.02.2022  | CooperVision Manufacturing Limited | Hy-Care and all branded variants of Hy-Care Model: CLC005  | MD: Multi-purpose soft/rigid contact lens solution | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_15/documents/2)  | Vk\_20220209\_15  |
| 15.02.2022 (Updated 17.02.2022)  | astraia software GmbH | astraia software for women's health SW-Version: 1.27.0 or higher  | MD: Patient health record information system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_06/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_06/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_06/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_06/documents/3)  | Vk\_20220211\_06  |
| 17.02.2022  | Philips Medical Systems Nederland BV | Philips Azurion 7 M20 Model: 722079 SW-Version: Philips Azurion R2.0.x  | MD: Stationary general-purpose fluoroscopic x-ray system, analogue | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_20/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_20/documents/2)  | Vk\_20220210\_20  |
| 17.02.2022  | Siemens AG Medizinische Technik - AX | Ysio Model: 10281013  | MD: Stationary basic diagnostic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_15/documents/1)  | Vk\_20220210\_15  |
| 17.02.2022  | Biocon MedizintechnikGmbH | Sterile Surgical Gowns  | MD: Surgical gown, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_01/documents/0)  | Vk\_20220209\_01  |
| 16.02.2022  | B. Braun Melsungen AG | INF.SP.LINE, TRANS, PVC, LL, 250CM-EU Model: 8270066SP-01 Lot: 21F23E8ST5, 21F25E8ST5, 21G16E8ST5, 21G17E8ST5  | MD: Electric infusion pump administration set, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_02/documents/0)  | Vk\_20220210\_02  |
| 15.02.2022  | Synedra Information Technologies GmbH | synedra View Model: Teilmodul von synedra AIM SW-Version: 19.x (Zephyr), 20.0.0.x (Kassiopeia)  | MD: Radiology picture archiving and communication system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_18/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_18/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_18/documents/2)  | Vk\_20220211\_18  |
| 15.02.2022  | Suricog | EyeBrain Model: T2 S/N: 0004-01-1308  | MD: Eye-tracking neurological/brain injury assessment device | [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_03/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220210_03/documents/1)  | Vk\_20220210\_03  |
| 15.02.2022  | BHS Technologies GmbH | RoboticScope Model: BHS1100, 12075  | MD: Microscope, operating | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_01/documents/0)  | Vk\_20220203\_01  |
| 15.02.2022  | HeartWare Inc. | HeartWare Ventricular Assist System (HVAD) Model: Controller AC Adapter: 1425, 1430; Controller DC Adapter: 1440; Battery: 1650DE  | AIMD: Implantable ventricular circulatory assist system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220202_01/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220202_01/documents/1)  | Vk\_20220202\_01  |
| 11.02.2022  | Philips Goldway (Shenzhen) Industrial Inc. | HeartStart Intrepid Monitor/Defibrillator Model: 867172  | MD: Rechargeable professional automated external defibrillator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_11/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_11/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_11/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220211_11/documents/3)  | Vk\_20220211\_11  |
| 01.02.2022 (Updated 11.02.2022)  | Acandis GmbH & Co. KG | DERIVO 2 Embolisation Device Model: 01-107001; 01-107002; 01-107003; 01-107004; 01-107005; 01-107006; 01-107007; 01-107008; 01-107009; 01-107010; 01-107011; 01-107012; 01-107039; 01-107043; 01-107047; 01-107048; 01-107052; 01-107053; 01-107057; 01-107058 Lot: all  | MD: Bare-metal intracranial vascular stent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220125_17/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220125_17/documents/1)  | Vk\_20220125\_17  |
| 10.02.2022  | BIP Biomedizinische Instrumente und Produkte GmbH | BIP O-Twist-Marker SRX Model: OTM-SRX; OTM3.0SRX Lot: 0919, 0220, 0920, 1220, 0121, 0221, 0321, 0421, 0721, 0821  | MD: Imaging lesion localization marker, implantable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_01/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_01/documents/2)  | Vk\_20220204\_01  |
| 10.02.2022  | ConvaTec Limited | Urostomy Pouches - Combihesive and Natura  | MD: Multiple-piece urostomy bag, open-ended | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_13/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_13/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_13/documents/3)  | Vk\_20220131\_13  |
| 13.05.2020 (Updated 10.02.2022)  | Radiometer Medical ApS | ABL800 Model: 393-800, 393-801 S/N: All SW-Version: 6.19 and below  | IVD: Metabolic profile clinical chemistry analyser IVD, stationary, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20200506_19/documents/7)  | Vk\_20200506\_19  |
| 09.02.2022  | arcomed ag | Volumed µVP7000 Model: Chroma; 7T-XRP-01, 7X-UOS-01 S/N: 71007674, 71007676, 71007677, 71007680, 71007698, 71007708, 71007737, 71007755, 71036429, 71036435, 71036772, 71036814, 71036841, 71046180, 71046856  | MD: Infusion Pumps, Multitherapy, Ambulatory | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_07/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220209_07/documents/1)  | Vk\_20220209\_07  |
| 09.02.2022  | Philips Medical Systems Nederland BV | Philips StentBoost Live Model: 459801781661, 722079, 722136, 722221, 722222, 722223, 722224, 722225, 722226, 722227, 722228; NA SW-Version: StenBoost Live R2.0 with Azurion R2.x  | MD: Stationary general-purpose fluoroscopic x-ray system, analogue | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_22/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_22/documents/1)  | Vk\_20220204\_22  |
| 09.02.2022  | GE Healthcare Tianjin Company Limited and GE Medical Systems LLC | Signa MR/i MR System Model: See FSN Brivo MRI System Model: See FSN Discovery MRI System Model: See FSN EchoSpeed MRI System Model: See FSN HighSpeed Plus MRI System Model: See FSN MR Max MRI System Model: See FSN MR Vectra MRI System Model: See FSN Optima MRI System Model: See FSN OrthOne MRI System Model: See FSN MSK Extreme MRI System SmartSpeed MRI System  | MD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: MRI system, superconducting magnetMD: MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnet | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_17/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_17/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_17/documents/3)  | Vk\_20220204\_17  |
| 08.02.2022  | Drägerwerk AG & Co. KGaA | Evita V300 Lot: all SW-Version: 2.60 and older Evita Infinity V500 Lot: all SW-Version: 2.60 and older Babylog VN500 Lot: all SW-Version: 2.60 and older  | MD: Neonatal/adult intensive-care ventilatorMD: Neonatal/adult intensive-care ventilatorMD: Neonatal/adult intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_21/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_21/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220204_21/documents/2)  | Vk\_20220204\_21  |
| 03.02.2022 (Updated 08.02.2022)  | Sysmex Corporation Japan | FLUOROCELL PLT Model: CD-994-563 Lot: A1003, A1004, A1006  | IVD: CBC-Reagents (Cleaning-/Diluting-/Lysing-/Sheat-fluids) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_08/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_08/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_08/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220203_08/documents/3)  | Vk\_20220203\_08  |
| 08.02.2022  | Huntleigh Healthcare | Dopplex Model: DIOP8 Lot: 107842006001  | MD: Invasive/noninvasive vascular ultrasound probe | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220202_16/documents/0)  | Vk\_20220202\_16  |
| 08.02.2022  | Siemens Medical Solutions USA, Inc., Ultrasound | ACUSON Juniper Diagnostic Ultrasound System Model: 11361954 S/N: See consignee list. SW-Version: VA10D, VA10E, VA10F  | MD: General-purpose ultrasound imaging system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220128_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220128_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220128_16/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220128_16/documents/3)  | Vk\_20220128\_16  |
| 08.02.2022  | W.O.M. World of Medicine GmbH | HysteroLux Fluid Management System Model: PH304 Lot: 72205000  | MD: Hysteroscopic irrigation/insufflation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220126_10/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220126_10/documents/1)  | Vk\_20220126\_10  |
| 01.02.2022 (Updated 07.02.2022)  | Biomerieux | VIDAS High Sensitive Troponin I Model: 415386, 415386-30  | IVD: Troponin I IVD, kit, enzyme immunoassay (EIA) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_14/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_14/documents/2)  | Vk\_20220127\_14  |
| 02.12.2020 (Updated 04.02.2022)  | Roche Molecular Systems Inc. | cobas z 480 analyzer Model: 05200881001  | IVD: Thermal cycler nucleic acid amplification analyser IVD, laboratory, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201124_09/documents/7)  | Vk\_20201124\_09  |
| 01.02.2022  | Össur hf | RESOLVE HALO Model: see FSN Lot: All Lot numbers S/N: N/A  | MD: Cervical spine immobilization system, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_28/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_28/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_28/documents/2)  | Vk\_20220131\_28  |
| 01.02.2022  | SHANGHAI KINDLY MEDICAL INSTRUMENTS CO., LTD. | Inflation Device Model: 459831-1 Lot: SKI21W12  | MD: Inflation device | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_14/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_14/documents/2)  | Vk\_20220131\_14  |
| 01.02.2022  | MicroVention Inc. | HydroSoft 3D  | MD: Neurovascular embolization coil | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220126_08/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220126_08/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220126_08/documents/2)  | Vk\_20220126\_08  |
| 13.10.2021 (Updated 01.02.2022)  | Siemens Healthcare GmbH | Sensis, Sensis Vibe Combo, Sensis Vibe Hemo Model: 10764561, 11007642, 11007641 SW-Version: VD1X  | MD: Cardiac catheterization laboratory computer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211005_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211005_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211005_09/documents/2)  | Vk\_20211005\_09  |
| 27.01.2022  | Medtronic MiniMed | MiniMed 640G Insulin Pump Model: MMT-1711, MMT-1712, MMT-1751, MMT-1752 S/N: all MiniMed 670G Insulin Pump Model: MMT-1780, MMT-1781, MMT-1782, MMT-1760, MMT-1761, MMT-1762, MMT-1741, MMT-1742 S/N: all MiniMed 720G Insulin Pump Model: MMT-1809, MMT-1810, MMT-1859, MMT-1860 S/N: all MiniMed 740G Insulin Pump Model: MMT-1811, MMT-1812, MMT-1861, MMT-1862 S/N: all MiniMed 770G Insulin Pump Model: MMT-1881, MMT-1882, MMT-1892, MMT-1891 S/N: all MiniMed 780G Insulin Pump Model: MMT-1885, MMT-1886, MMT-1895, MMT-1896 S/N: all  | MD: Ambulatory insulin infusion pump, electronic, software-dosing, binary algorithmMD: Ambulatory insulin infusion pump, electronicMD: Ambulatory insulin infusion pump, electronic, non-software-dosingMD: Ambulatory insulin infusion pump, electronic, software-dosing, binary algorithmMD: Ambulatory insulin infusion pump, electronic, software-dosing, scalar algorithmMD: Ambulatory insulin infusion pump, electronic, software-dosing, scalar algorithm | [DE-2-HCP](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/0) [DE-2-Patient](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/1) [FR-1-HCP](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/2) [FR-2-Patient](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/3) [IT-1-HCP](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/4) [IT-2-Patient](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/5) [EN-2-HCP](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/6) [EN-2-Patient](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220127_09/documents/7)  | Vk\_20220127\_09  |
| 19.01.2022 (Updated 27.01.2022)  | Ventana Medical Systems Inc | BENCHMARK ULTRA STAINER MODULE Model: 05342716001 S/N: all SW-Version: N/A  | IVD: Microscope slide stainer IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_19/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_19/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_19/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_19/documents/3)  | Vk\_20220114\_19  |
| 19.01.2022 (Updated 27.01.2022)  | SD BIOSENSOR, INC. | Standard Q COVID-19 IgM/IgG Combo Test Model: Q-NCOV-01C; 09COV50G  | IVD: Other Other Virology - RT & POC | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_12/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_12/documents/1)  | Vk\_20220114\_12  |
| 25.01.2022  | Chromsystems Instruments & Chemicals GmbH | Analytical column, MassChrom Free Metanephrines Model: 81100; 81100 Lot: 3819, 0720, 1520, 2920, 0221, 0521, 1121, 2121 S/N: n/a SW-Version: n/a  | IVD: High performance liquid chromatography analyser column IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220121_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220121_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220121_09/documents/2)  | Vk\_20220121\_09  |
| 25.01.2022  | Baxter Healthcare SA | MINICAP EXTEND LIFE PD TRANSFER SET Model: R5C4482 Lot: All lots within expiry Minicap Extd Life Transfer Set Model: R5C4484 Lot: All lots within expiry  | MD: Peritoneal dialysis system tubing setMD: Peritoneal dialysis system tubing set | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220118_08/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220118_08/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220118_08/documents/2)  | Vk\_20220118\_08  |
| 24.01.2022  | Newdeal SAS | TIBIAXYS Hexalobular T10 Screwdriver Model: 219135ND Lot: FTL9, FTLA and FVRG  | MD: Surgical screwdriver, reusable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220112_08/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220112_08/documents/1)  | Vk\_20220112\_08  |
| 18.01.2022 (Updated 21.01.2022)  | OSCOR Inc. | Guidestar Steerable Guiding Sheath Model: D141103 Lot: See FSN S/N: N/A Destino Twist Steerable Guiding Sheath Model: DST1405525 Lot: See FSN S/N: N/A  | MD: Vascular guide-catheter, single-useMD: Vascular guide-catheter, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_15/documents/3)  | Vk\_20220114\_15  |
| 20.01.2022  | Armstrong Medical Limited | AquaVENT FD140i Gas Flow Driver  | MD: CPAP unit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_23/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220114_23/documents/1)  | Vk\_20220114\_23  |
| 20.01.2022  | B. Braun Melsungen AG | B. Braun Perfusor Space Model: 8713030 S/N: 632251, 632274, 632283, 632284, 632289, 632295, 632314, 640165  | MD: Syringe pump | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220112_11/documents/0)  | Vk\_20220112\_11  |
| 12.01.2022 (Updated 20.01.2022)  | Implantcast GmbH | AGILON glenoid components Model: 38004001, 38004009, 38004010, 38004028, 38004029, 38004075, 38004071, 38004072, 38004073, 38004074 S/N: All manufactured parts placed on the market since 2017 until 12/31/2021  | MD: Reverse shoulder prosthesis base plate | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_12/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_12/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_12/documents/3)  | Vk\_20220107\_12  |
| 19.01.2022  | NRT-Nordisk Røntgen Teknik A/S | Celex and Intelli-C EU Model: See FSN S/N: Device SN: 658008; Affected Footrest SN: 903282000046  | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220113_02/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220113_02/documents/1)  | Vk\_20220113\_02  |
| 19.01.2022  | Medtronic Inc. | Prevail Paclitaxel-coated PTCA Balloon Catheter Model: PRV025020RX, PRV025030RX, PRV035015RX, PRV035020RX, PRV035025RX Lot: 0010853342, 0010841909, 0010837068, 0010837067, 0010765701, 0010832009, 0010815239  | MD: Coronary angioplasty balloon catheter, drug-coated | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220111_10/documents/0)  | Vk\_202 |
| 24.09.2021 (Updated 19.01.2022)  | Cook Incorporated | Vascular Retrieval Forceps Model: VRF-3.0-120 Lot: NS14325027 Kwart Retro-Inject Ureteral Stent Set Model: 003500 Lot: NS13712097 Dotter Intravascular Retriever Set Model: DRS-100 Lot: 10266860, 13296938 Miller Double Mushroom Biliary Stent Set Model: UBSS-10-7.5-MLR Lot: 9984121X  | MD: Intravascular extraction catheter-snareMD: Polymeric ureteral stentMD: Intravascular extraction catheter-snareMD: Biliary drain | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210922_12/documents/6)  | Vk\_20210922\_12  |
| 19.10.2021 (Updated 18.01.2022)  | Medtronic Inc. | Percept PC BrainSense Model: B35200 S/N: All  | AIMD: Deep brain electrical stimulation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/3) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/4) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211013_07/documents/5)  | Vk\_20211013\_07  |
| 13.01.2022 (Updated 17.01.2022)  | HS Doms GmbH | Centric Lot: HD02480 S/N: HD02480  | MD: Chairs, Examination/Treatment, Ophthalmology | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_10/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_10/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_10/documents/3)  | Vk\_20211229\_10  |
| 13.01.2022 (Updated 17.01.2022)  | HS Doms GmbH | HS-2010 S/N: HD02465, HD02466, HD02467  | MD: Examination/Treatment Stands, Ophthalmic | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_09/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211229_09/documents/3)  | Vk\_20211229\_09  |
| 17.01.2022  | Medtronic Inc. | Endurant II/IIs Stent Graft System Model: see FSN S/N: see FSN  | MD: Abdominal aorta endovascular stent-graft | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_02/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_02/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_02/documents/3)  | Vk\_20211223\_02  |
| 21.12.2021 (Updated 14.01.2022)  | Liko AB | Liko M230 Model: Model 2050015 S/N: 5361393-5362761 Liko M220 Model: Model 2050010 S/N: 5361393-5362761  | MD: Mobile patient lifting system, battery-poweredMD: Mobile patient lifting system, battery-powered | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_20/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_20/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_20/documents/3)  | Vk\_20211216\_20  |
| 13.01.2022  | Applied Medical Resources Corporation | Epix Reusable Probe, 5mm x 45cm Model: C7211; 101260801 Lot: 1413028; 1418704; 1427261  | MD: Suction cannula, reusable | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220111_28/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220111_28/documents/1)  | Vk\_20220111\_28  |
| 12.01.2022  | Bühlmann Laboratories AG | Quantum Blue Anti-Infliximab Model: LF-ADIF25; LF-ADIF10 Lot: 1107.N.S; 1107.N  | IVD: TNF-alpha inhibitor antibody IVD, kit, immunochromatographic test (ICT), rapid | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_02/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220107_02/documents/1)  | Vk\_20220107\_02  |
| 12.01.2022  | Thermo Fisher Scientific - Microbiology Central Reporting | Cefiderocol on Sensititre plates Model: T3462 Lot: 267261 to 402775  | IVD: Reagent | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220106_06/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220106_06/documents/1)  | Vk\_20220106\_06  |
| 12.01.2022  | OxyPrem AG c/o Universität Zürich Klinik für Neonatologie | OxyPrem 1.4 Model: 001 Lot: All S/N: All  | MD: UMDNS=17-942 | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211227_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211227_12/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211227_12/documents/2)  | Vk\_20211227\_12  |
| 21.12.2021 (Updated 12.01.2022)  | Ambu A/S | AMBU SPUR II Model: 32502300, , 32502300, 330023000, 325000530 Lot: 1000000280 to 1000212707 etc.  | MD: Pulmonary resuscitator, manual, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_15/documents/3)  | Vk\_20211214\_15  |
| 21.12.2021 (Updated 10.01.2022)  | Medtronic Xomed | NIM TriVantage EMG Endotracheal Tube Model: 8229705, 8229706, 8229707, 8229708, 8229709, 8229735, 8229736, 8229737, 8229738, 8229739; - Lot: - S/N: all  | MD: Basic endotracheal tube, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211216_15/documents/3)  | Vk\_20211216\_15  |
| 28.12.2021 (Updated 07.01.2022)  | bioMérieux SA | ID 32 C Model: 32200 Lot: 1008781060 SW-Version: N/A  | IVD: Multiple Candida/yeast species culture isolate identification IVD, kit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_31/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_31/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211223_31/documents/2)  | Vk\_20211223\_31  |
| 28.12.2021 (Updated 06.01.2022)  | Laerdal Medical AS | Laerdal Suction Unit with Reusable Canister Model: 784000, 78000000, 78000003, 78000033 Lot: 1721 - 2621 S/N: see FSN  | MD: Emergency airway clearance suction system, electric | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211221_31/documents/0) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211221_31/documents/1) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211221_31/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211221_31/documents/3)  | Vk\_20211221\_31  |
| 23.12.2021 (Updated 06.01.2022)  | Synthes GmbH | Universal Chuck Model: 03.043.001 Lot: 20911101, 20229201, 21210202, 21781103 S/N: N/A SW-Version: N/A  | MD: Surgical drill chuck | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211220_05/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211220_05/documents/1)  | Vk\_20211220\_05  |
| 14.12.2021 (Updated 06.01.2022)  | EUROS FRANCE | NEMOST - Growing Domino Model: A304013051; A304013081 Lot: all  | MD: Bone-screw internal spinal fixation system, sterile | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_02/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211214_02/documents/2)  | Vk\_20211214\_02  |
| 05.01.2022  | Intuitive Surgical, Inc | Reducer, IS4000, 12-8MM, Disposable, Box of 6 Model: 470381-11 Lot: see FSN  | MD: Laparoscopic access cannula seal reducer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220103_27/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220103_27/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220103_27/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220103_27/documents/3)  | Vk\_20220103\_27  |
| 24.11.2021 (Updated 03.01.2022)  | Siemens Medical Solutions USA, Inc., Ultrasound | ACUSON Sequoia Model: 11148775 SW-Version: Sequoia 1.2 (VA25A/VA25B)  | MD: General-purpose ultrasound imaging system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211122_23/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211122_23/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211122_23/documents/2) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211122_23/documents/3)  | Vk\_20211122\_23  |