**Інформація, отримана з іноземних систем повідомлення про продукцію, що становить серйозний ризик, за період 01.04.2022 – 30.06.2022**

**Швейцарія**

## <https://fsca.swissmedic.ch/mep/#/>

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 29.06.2022 | Meridian Bioscience, Inc. | Revogene  Model: 610210 (Meridian-branded); 130840 (GenePOC-branded)  S/N: All | IVD: NA Integrated Extraction/Amplification/Detection Hardware + accessories + consumables + software | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220624_24/documents/0) | Vk\_20220624\_24 |
| 28.06.2022 | Spacelabs Healthcare | Xhibit Telemetry Receiver (XTR)  Model: 96280  SW-Version: v.1.4.0 | MD: Electrocardiography telemetric monitoring system receiver | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/3) | Vk\_20220628\_03 |
| 26.04.2022  (Updated 28.06.2022) | Lohmann & Rauscher GmbH & Co. KG | Gauze swabs with x-ray thread in Kitpack (procedure packs) and SetPack (individual products)  Model: See FSN  Lot: See FSN | MD: Woven gauze pad | [DE-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/0)  [DE-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/1)  [DE-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/2)  [DE-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/3)  [FR-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/4)  [FR-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/5)  [FR-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/6)  [FR-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/7)  [IT-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/8)  [IT-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/9)  [IT-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/10)  [IT-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/11) | Vk\_20220422\_14 |
| 27.06.2022 | BS Medical Tech Industry Sarl | Flocare DirectPEG  Model: CH12; 656893; CH14; 656707 | MD: Gastro-jejunostomy, Tubes And Sets | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/2) | Vk\_20220616\_01 |
| 24.06.2022 | EUROIMMUN Medizinische Labordiagnostika AG | Anti-IA2 ELISA (IgG)  Model: EA 1023-9601 G  Lot: E220215BA | IVD: Thyrosin Phosphatase IA2 Antibodies | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220615_13/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220615_13/documents/1) | Vk\_20220615\_13 |
| 24.06.2022 | Abbott GmbH | ARCHITECT Hemoglobin A1c (A1c)  Model: 4P52-20  Lot: 59588UQ04, 59868UQ05, 59900UQ06, 60138UQ07, 60237UQ08, 60535UQ08, 60698UQ09, 60880UQ10, 61066UQ11, 61246UQ01, 61250UQ01  Alinity c Hemoglobin A1c (HbA1c)  Model: 08P4320 and 08P4377  Lot: 59561UQ04, 59779UQ05, 60229UQ07, 60540UQ09, 61011UQ10, 61349UQ01, 61658UQ01, 59801UQ04, 60763UQ09 | IVD: Glycated haemoglobin (HbA1c) IVD, kit, nephelometry/turbidimetry  IVD: Glycated haemoglobin (HbA1c) IVD, kit, nephelometry/turbidimetry | [DE-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/0)  [DE-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/1)  [FR-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/2)  [FR-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/3)  [IT-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/4)  [IT-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/5) | Vk\_20220614\_06 |
| 23.06.2022 | Zimmer Switzerland Manufacturing GmbH | NCB Screws, 5.0mm  Model: 02.03150.038; N/A  Lot: 3101299  S/N: N/A  SW-Version: N/A | MD: Internal orthopaedic fixation system, plate/screw, non-bioabsorbable, non-sterile | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_18/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_18/documents/1) | Vk\_20220609\_18 |
| 22.06.2022 | Schiller Medical SAS | DEFIGARD TOUCH7  S/N: All serial numbers  SW-Version: Software version less than Soft09 | MD: Physiologic-monitoring defibrillation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/2) | Vk\_20220617\_22 |
| 21.06.2022 | Medline Industries, LP | Soft suction liner  Model: see FSN  Lot: see FSN | MD: Suction system canister liner | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/3) | Vk\_20220617\_26 |
| 21.06.2022  (Updated 21.06.2022) | Abbott Medical | MERLIN PATIENT CARE SYSTEM (PCS)  Model: 3650  SW-Version: 3330 25.3.2 or earlier  MERLIN 2 PATIENT CARE SYSTEM (PCS)  Model: MER3700  SW-Version: MER3400 1.1.2 or earlier  Merlin.net  Model: MN5000  SW-Version: v11.7 Remote Monitoring Application used with Accent/Anthem and Endurity/Assurity/Allure family of pacemakers | AIMD: Cardiac pulse generator software  AIMD: Cardiac pulse generator software  AIMD: Cardiac pulse generator software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/3) | Vk\_20220616\_13 |
| 21.06.2022 | Beckman Coulter India Pvt Limited | DURAClone B27 Reagent Kit  Model: B36862  Lot: see FSN | IVD: Multiple CD cell marker IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/2) | Vk\_20220614\_26 |
| 21.06.2022 | Thermo Fisher Scientific | Thermo Scientific IDEIA Lyme Neuroborreliosis  Model: K602811-2  Lot: 3346025, 3382296, 3399374 | IVD: Borrelia burgdorferi antigen IVD, kit, enzyme immunoassay (EIA) | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_14/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_14/documents/1) | Vk\_20220614\_14 |
| 21.06.2022 | Siemens Healthcare GmbH | Sensis, Sensis Vibe Combo | MD: Cardiac catheterization laboratory computer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/2) | Vk\_20220614\_08 |
| 21.06.2022 | Gebrüder Martin GmbH & Co. KG | UHP Stem Standard+, medium / large, Ti, sterile  Model: 26-210-13-09 resp. 26-210-05-09  Lot: 33477990 resp. 33477969 | MD: Wrist Prostheses Radial-ulnar Components | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220610_11/documents/0) | Vk\_20220610\_11 |
| 07.06.2022  (Updated 21.06.2022) | Respironics California, LLC | V680 Ventilator  Model: 47244 | MD: General-purpose intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/3) | Vk\_20220603\_04 |
| 24.05.2022  (Updated 21.06.2022) | Roche Diabetes Care GmbH | Accu-Chek Insight Adapter & Tubing  Model: 06485472001; 06485499001; 06485464001  Lot: Lots lower than: 1354241 (REF 06485472001) 1355360 (REF 06485499001) 1354242 (REF 06485464001 | MD: Kit For Continuous Subcutaneous Insulin Infusion | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/2)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/3) | Vk\_20220517\_12 |
| 15.06.2022  (Updated 20.06.2022) | NordicNeuroLab AS | nordicBrainEx  Model: 2.3  S/N: 2.2.1 to 2.3.10  SW-Version: 2.3.10 | MD: MRI system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/3) | Vk\_20220613\_12 |
| 16.06.2022  (Updated 20.06.2022) | The Spectranetics Corporation | Philips Laser System  Model: LAS-100  S/N: Reference Attachment 1 Consignee List | MD: Atherectomy excimer laser system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/3) | Vk\_20220609\_14 |
| 14.06.2022  (Updated 20.06.2022) | Ventana Medical Systems Inc | VENTANA HE 600 System  Model: 06917259001 | IVD: Microscope slide stainer IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/2) | Vk\_20220608\_16 |
| 20.06.2022 | Hamilton Medical AG | Hamilton-C6  Model: 160021 | MD: Ventilators, Intensive Care | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/3) | Vk\_20220602\_19 |
| 20.06.2022 | Laboratoires BIOTIC PHOCEA | BiochromaDerm  Model: 0D001-AR02, 0D001-AR10, 0D001-AR12, 0D001-AR13, 0D001-AR14, 0D001-AR15, 0D001-AR16, 0D001-AR20, 0D001-AR22, 0D001-AR23, 0D001-AR24, 0D001-AR25, 0D001-LP04, 0D001-LP29, 0D001-CC06  Lot: See FSN  BiochromaEyes  Model: 0D008-CT82, 0D008-CT83, 0D008-CT88  Lot: See FSN | MD: Tattoo ink, dermal  MD: Tattoo ink, ocular | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_16/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_16/documents/1) | Vk\_20220502\_16 |
| 17.06.2022 | DePuy Orthopaedics, Inc. | MODULAR CATHCART FRACTURE HEAD  Model: see FSN  Lot: see FSN | MD: Metallic femoral head prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/2) | Vk\_20220607\_01 |
| 16.06.2022 | O-Two Medical Technologies Inc. | Resuscitation and Anesthesia Facemasks  Model: 02FM4999-CS, 02FM500-CS, 02FM5001-CS  Lot: 190604, 191102, 191202, 200319, 200404 | MD: Anaesthesia face mask, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/3) | Vk\_20220609\_10 |
| 16.06.2022 | Agilent Technologies Singapore Pte Ltd. | AriaDx Real-Time PCR Instrument / Agilent  Model: K8930A; K8930-90001  S/N: see FSN | IVD: Thermal cycler nucleic acid amplification analyser IVD, laboratory, semi-automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/3) | Vk\_20220608\_04 |
| 04.03.2022  (Updated 16.06.2022) | ConvaTec Limited | Natura Accordion Flange Convex Cut-to Fit wafer  Lot: 1F00229, 1F01439 | MD: Intestinal ostomy base plate, convex | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/3)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/4)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/5)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/6)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/7) | Vk\_20220228\_18 |
| 07.06.2022  (Updated 15.06.2022) | Randox Laboratories Ltd | Randox Soluble Transferrin Receptors (STFR)  Model: TF10159  Lot: 537714, 54830, 562691, 575475, 589051  Randox Soluble Transferrin Receptors Calibrator Series (STFR CAL)  Model: TF10161  Lot: 537725, 548501, 562696, 575482, 589060 | IVD: Soluble transferrin receptor IVD, kit, nephelometry/turbidimetry  IVD: Soluble transferrin receptor IVD, calibrator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/3) | Vk\_20220601\_25 |
| 23.05.2022  (Updated 15.06.2022) | Maquet SAS | Volista STANDOP  Model: See FSN  S/N: see FSN | MD: Operating room light | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/2) | Vk\_20220510\_26 |
| 14.06.2022 | Siemens Healthcare GmbH | ARTIS pheno | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_16/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_16/documents/1) | Vk\_20220613\_16 |
| 14.06.2022 | Thermo Fisher Scientific | MicroTest M4RT 3mL w/o Beads NP Swab Kit 100/pk  Model: R12705  Lot: 472505 | IVD: Swap | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_36/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_36/documents/1) | Vk\_20220607\_36 |
| 07.06.2022  (Updated 09.06.2022) | B. Braun Melsungen AG | REDOVAC  Model: see FSN  Lot: see FSN | MD: Intra-operation Fluid Collection Devices - Other | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/2) | Vk\_20220607\_10 |
| 22.02.2021  (Updated 09.06.2022) | Medtronic Inc. | Valiant NavionTM Thoracic Stent Graft System  Model: All  Lot: All  S/N: -  SW-Version: N/A | MD: Descending thoracic aorta endovascular stent-graft | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/1)  [DE-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/2)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/3)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/4)  [FR-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/5)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/6)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/7)  [IT-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/8)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/9)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/10)  [EN-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/11) | Vk\_20210218\_20 |
| 31.05.2022  (Updated 08.06.2022) | IBL International GmbH | Testosterone Luminescence Immunoassay  Model: RE62039; RE62031  Lot: LTE196 / LTE197 | IVD: Total testosterone IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/2) | Vk\_20220525\_24 |
| 18.05.2022  (Updated 08.06.2022) | Löwenstein Medical Technology GmbH + Co. KG | prisma VENT30(-C), prisma VENT40, TIVAN 30(40)  Model: 29550HL-4110  S/N: 32061864, 32061865, 32061866, 32061868, 32061869, 32061872, 32061874, 32061875, 32061876, 32061877, 32061878, 32061882, 32061883, 32061884, 32061885, 32061887, 32061888, 32061889, 32061890, 32061891 | MD: Portable electric ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220511_08/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220511_08/documents/1) | Vk\_20220511\_08 |
| 07.06.2022 | RaySearch Laboratories AB (publ) | RayStation  Model: 9B SP1, 10A SP1, 11A SP1, 11A SP2  SW-Version: 9.2.0.483, 10.0.1.52, 11.0.1.29, 11.0.3.116 | MD: Radiation therapy software | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_13/documents/0) | Vk\_20220603\_13 |
| 31.05.2022  (Updated 07.06.2022) | Carl Zeiss Meditec AG | Z-Hyalon/ Z-Hyalon Plus  Lot: All products within expiry date are affected  S/N: 000000-1941-242, 000000-1941-243, 000000-1941-244, 000000-1941-245, 000000-1941-246  SW-Version: n/a | MD: Vitreous/aqueous humour replacement medium, intraoperative | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/2) | Vk\_20220530\_46 |
| 07.06.2022 | Ambu A/S | Ambu VivaSight 2 DLT  Model: 412351000: VivaSight 2 DLT Kit 35 Fr - LEFT 412371000: VivaSight 2 DLT Kit 37 Fr - LEFT 412391000: VivaSight 2 DLT Kit 39 Fr - LEFT 412411000: VivaSight 2 DLT Kit 41 Fr - LEFT | MD: Endobronchial tube | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/3) | Vk\_20220530\_41 |
| 22.03.2022  (Updated 07.06.2022) | NeuMoDx Molecular, a QIAGEN Company | NeuMoDx HIV-1 Quant Test Strips  Model: 300500  Lot: n/a  S/N: n/a  NeuMoDx HCV Quant Test Strips  Model: 300300  Lot: n/a  S/N: n/a | IVD: HIV-1 Quant Test  IVD: HCV Quant Test | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/3)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/4)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/5)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/6)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/7) | Vk\_20220317\_23 |
| 03.06.2022 | Cordis Cashel | Cordis PALMAZ GENESIS Peripheral Stent on OPTA Pro  Model: PG2990PPS, PG2990PPX, PG3990PPS, PG3990PPX  Lot: Refer to Table 1 in FSN letter | MD: Multiple peripheral artery stent, bare-metal | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/2) | Vk\_20220530\_52 |
| 03.06.2022 | ZELTIQ Aesthetics, Inc. | CoolCore  Model: BRZ-AP1-063-000  S/N: All  CoolCurve, CoolCurve+  Model: BRZ-AP1-062-000; BRZ-AP1-064-000  S/N: All  CoolFit  Model: BRZ-AP1-066-000  S/N: All  CoolMax  Model: BRZ-AP1-080-000  S/N: All | MD: Cryolipolysis body contouring system applicator  MD: Cryolipolysis body contouring system applicator  MD: Cryolipolysis body contouring system applicator  MD: Cryolipolysis body contouring system applicator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/3) | Vk\_20220530\_50 |
| 03.06.2022 | Illumina, Inc | NextSeq 550Dx  Model: 20005715  MiSeqDx Instrument  Model: DX-410-1001 / 15036706 / 20014053 | IVD: Nucleic acid sequence analyser IVD, next-generation sequencing (NGS)  IVD: Nucleic acid sequence analyser IVD, next-generation sequencing (NGS) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/3) | Vk\_20220509\_16 |
| 02.06.2022 | Mölnlycke Health Care AB | SECTIO SET  Model: See attached Product Table  Lot: See attached Product Table  S/N: See attached Product Table | MD: General/plastic surgical procedure kit, non-medicated, single-use | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_35/documents/0) | Vk\_20220525\_35 |
| 01.03.2022  (Updated 02.06.2022) | Stryker Endoscopy | 1688 Camera Control Unit (CCU)  Model: 1688010000, 1688010000I  Lot: All  SW-Version: 3.0.6, 4.0.13, 4.0.18 | MD: Camera control unit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/2)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/3)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/4) | Vk\_20220218\_29 |
| 01.06.2022 | Menarini Silicon Biosystems lnc. | CellSearch Circulating Tumor Cell Kits  Model: Kit; 7900001  Lot: S108  S/N: Not Applicable  SW-Version: Not Applicable | IVD: Radiation therapy treatment record/verify system | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_38/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_38/documents/1) | Vk\_20220530\_38 |
| 31.05.2022  (Updated 01.06.2022) | Siemens Healthcare GmbH | Artis zeego | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_10/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_10/documents/1) | Vk\_20220525\_10 |
| 31.05.2022 | ConvaTec Limited | Varihesive Extra Thin 10x10cm (1x5pk)Varihesive Ex  Lot: 1H04380  S/N: 187954 | MD: Exudate-absorbent dressing, hydrophilic-gel, non-antimicrobial | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/3) | Vk\_20220530\_45 |
| 31.05.2022 | Medline Industries Inc. | Removable L-connector for Medline MED-SOFT Liner  Model: OR53916, OR929K, OR53926, OR53929, OR926K  Lot: 670210727, 670211116, 670211109, 670211027, 670211116 | MD: Suction system canister liner | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/3) | Vk\_20220530\_36 |
| 31.05.2022 | Siemens Healthcare GmbH | ARTIS icono biplane  S/N: ARTIS icono biplane Systeme | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220524_17/documents/0) | Vk\_20220524\_17 |
| 17.05.2022  (Updated 31.05.2022) | MAQUET Cardiopulmonary GmbH | Heater Unit HU35  Model: 70103.5259; 70104.9090; 70107.2162; 70107.2163  S/N: All HU 35 units are affected since production start up to serial number 90039999 (HU 35, 230 V) and up to serial number 90034999 (HU35, 115 V). | MD: Cardiopulmonary bypass system heat exchanger, reusable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/2) | Vk\_20220510\_20 |
| 24.05.2022  (Updated 30.05.2022) | Abbott Vascular | Absolute Pro LL Peripheral Self-Expanding Stent System  Model: All  Lot: All | MD: Multiple peripheral artery stent, bare-metal | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/3) | Vk\_20220523\_12 |
| 30.05.2022 | TRUSETAL VERBANDSTOFFWERK GMBH | TRU-PACK surgical procedure kits  Model: CHVI002-01; CHVI002-02  Lot: 38AH21; 16AR22 | MD: Ophthalmic surgical procedure kit, non-medicated, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/3) | Vk\_20220519\_11 |
| 30.05.2022 | Keystone Heart | TriGUARD 3 Cerebral Embolic Protection Device  Model: FG00005  Lot: 3.0HS20210904, 3.0HS20211007, 3.0HS20210924 | MD: Intravascular Embolic Protection Catheters And Systems - Other | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_23/documents/0) | Vk\_20220509\_23 |
| 25.05.2022 | B. Braun Medical AG | Discofix C  Model: 16600C; 16605C; 16608C; 16610C; 16611C; 16615C  Lot: See FSN | MD: Intravenous line stopcock | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/2) | Vk\_20220519\_22 |
| 25.05.2022 | Bohus BioTech AB | Microvisc  Lot: See FSN  Microvisc Plus  Lot: See FSN  Microvisc Phaco  Lot: See FSN  BBTvisc  Lot: See FSN | MD: Vitreous/aqueous humour replacement medium, intraoperative  MD: Vitreous/aqueous humour replacement medium, intraoperative  MD: Vitreous/aqueous humour replacement medium, intraoperative  MD: Vitreous/aqueous humour replacement medium, intraoperative | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220518_21/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220518_21/documents/1) | Vk\_20220518\_21 |
| 24.05.2022 | Össur hf | Vari-Flex Junior  Model: VJB0CSSR, VJB0CSSL | MD: Mechanical-resistance external ankle-foot prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/3) | Vk\_20220523\_25 |
| 24.05.2022 | GE Healthcare IITS USA Corporation | Centricity Universal Viewer Zero Footprint Client  SW-Version: see FSN  Centricity PACS RA1000 Workstation Software  SW-Version: see FSN  Centricity Radiology RA600  SW-Version: see FSN  Centricity Cardiology CA1000  SW-Version: see FSN  GE Centricity Enterprise Web  SW-Version: see FSN | MD: Medical image management system  MD: Radiological PACS software  MD: Medical image management system  MD: Medical image management system  MD: Radiological PACS software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/3) | Vk\_20220523\_15 |
| 24.05.2022 | Datex-Ohmeda Inc. | Carescape R860  Model: See FSN  Lot: See FSN | MD: Neonatal/adult intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/3) | Vk\_20220520\_25 |
| 24.05.2022 | FX SOLUTIONS | HUMELOCK REVERSED STEM  Model: 312-3612  Lot: S1773  SW-Version: Not applicable | MD: Shoulder Prostheses Humeral Components | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_19/documents/0) | Vk\_20220519\_19 |
| 24.05.2022 | Albomed GmbH | Pe-Ha-Luron  Model: 00037, 00040, 00042, 03417  Lot: All batches within expiry date | MD: Aqueous/vitreous humour replacement medium kit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_12/documents/0) | Vk\_20220519\_12 |
| 24.05.2022 | Dedienne Santé | DS Evolution  Model: 52.34.0903  Lot: 266564020B  Gyracup E Cementless  Model: Cup: 3700502203608; Insert PE: 3700502203912, 3700502203981  Lot: Cup: 262487072A; Insert PE: 227783750B, 227783940C  SYMBOL CUP NA  Model: 3700502203448  Lot: 268417090A  SYMBOL STEM  Model: 3700502202724; 3700502202731  Lot: Ref: 3700502202724: lot: 266572211A; Ref: 3700502202731: lot: 266572220A, 266572231A | MD: Acetabular shell  MD: Acetabular shell  MD: Non-constrained polyethylene acetabular liner  MD: Press-fit femoral stem prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/3) | Vk\_20220506\_06 |
| 21.04.2022  (Updated 24.05.2022) | Smiths Medical ASD, Inc. | Medfusion Syringe Infusion pump  Model: 3500 and 4000  Lot: see FSN | MD: Syringe pump | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/3) | Vk\_20220330\_04 |
| 23.05.2022 | Radiometer Medical ApS | ABL700 and ABL800 Flex series  Model: 393-800, 393- 801, 393-700; 393-800, 393- 801, 393-700  Lot: All analyzers  SW-Version: All software version below V6.19 MR2. | IVD: Blood gas/pH/electrolyte/metabolite analyser | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/2) | Vk\_20220505\_21 |
| 23.05.2022 | enverdis medical solutions GmbH | CARDIOLOGIC EXPLORER  Model: E12K3U  SW-Version: >= 3.0.0.0 | MD: Electrocardiographs, Multichannel, Interpretive | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211207_15/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211207_15/documents/1) | Vk\_20211207\_15 |
| 20.05.2022 | Alcon Laboratories, Inc. | Alcon AutonoMe Pre-loaded Delivery System  Model: CNA0T0.240  Lot: 25238775 | MD: Posterior-chamber intraocular lens, pseudophakic | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220512_16/documents/0)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220512_16/documents/1) | Vk\_20220512\_16 |
| 19.05.2022 | Laboratoires Euromedis | Sterile crepe bandage  Model: 135195 to 135199 / 135700 to 135705  Lot: all batches excepted batches with expiry date | MD: CND M.05.99 | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_05/documents/0) | Vk\_20220426\_05 |
| 18.05.2022 | Hill-Rom S.A.S. | Hill-Rom 900  Model: LI900B2  S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893  Ampera  Model: LI901A0  S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893  Centuris Pro  Model: LI900B1  S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893 | MD: Basic electric hospital bed  MD: Bedrail  MD: Bedrail | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/3) | Vk\_20220516\_07 |
| 18.05.2022 | Covidien llc | EEA Auto Suture Circular Stapler with DST Series Technology 25mm  Model: EEA25, EEA2535, EEAXL25, EEAXL2535  Lot: All | MD: Intraluminal circular stapler, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/3) | Vk\_20220513\_21 |
| 10.05.2022  (Updated 18.05.2022) | Medtronic Xomed Inc | EMG TUBE REINFORCED 6MM / PRO PIN; EMG TUBE REINFORCED 7MM / PRO PIN (1/EA); EMG TUBE REINFORCED 8MM / PRO PIN (1/EA)  Model: 8229306, 8229307, 8229308  ENDOTRACHEAL TUBE 6MM EMG CONTACT (1/EA); ENDOTRACHEAL TUBE 7MM EMG CONTACT (1/EA); ENDOTRACHEAL TUBE 8MM EMG CONTACT (1/EA)  Model: 8229506, 8229507, 8229508 | MD: Reinforced endotracheal tube, single-use  MD: Basic endotracheal tube, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/3) | Vk\_20220506\_10 |
| 17.05.2022 | Bio-Rad Medical Diagnostics GmbH | Anti-Lua (LU1)  Model: 808216  Lot: 3131020-00, 3131030-00  SW-Version: n/a | IVD: Anti-Lu^a red blood cell grouping IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_05/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_05/documents/1) | Vk\_20220516\_05 |
| 17.05.2022 | Bioretec Ltd. | Activa IM-Nail  Model: see FSN  Lot: see FSN | MD: Intramedullary Nails | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_26/documents/0) | Vk\_20220513\_26 |
| 17.05.2022 | Drägerwerk AG & Co. KGaA | SafeStar 55  Model: MP01790  Lot: 2103 | MD: Filters, Ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_31/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_31/documents/1) | Vk\_20220509\_31 |
| 17.05.2022 | Biomedical Data Solutions Limited | Ortho Connect  Model: 3.0; 6904413; 6904414; 6904415; 6913355; 6904410; 6904411; 6904412; 6993333; 6900534  SW-Version: 3.0 | IVD: Laboratory instrument/analyser application software IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/3) | Vk\_20220505\_24 |
| 17.05.2022 | Breas Medical AB | Ventilator Trolley  Model: 007384 for the Vivo 55/65, Vivo 45/45 LS, Vivo 1-2-3 and NIPPY models  Lot: Units delivered between 11 June 2020 and 03 December 2021 | MD: Various Instruments For Anaesthesia And Pulmonary Ventilation Support | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/2) | Vk\_20220131\_35 |
| 17.03.2021  (Updated 17.05.2022) | Siemens Healthcare Diagnostics Inc | ADVIA 2120/2120i Hematology System  Model: See FSN  S/N: See FSN  SW-Version: 6.10 and 6.11 | IVD: Haematological cell analyser IVD, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/3)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/4)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/5) | Vk\_20210309\_17 |
| 04.05.2022  (Updated 16.05.2022) | Siemens Healthcare Diagnostics Products GmbH | INNOVANCE D-Dimer Controls  Model: SMN 10446005  Lot: All lots in shelf-life up to: INNOVANCE D-Dimer Control 1 lot 562293, INNOVANCE D-Dimer Control 2 lot 562193 | IVD: D-dimer IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/2) | Vk\_20220502\_17 |
| 03.05.2022  (Updated 13.05.2022) | Cook Incorporated | Hilal, Nester & Tornado Embolization Microcoil  Model: see FSN  Lot: see FSN | MD: Non-neurovascular embolization coil | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/3) | Vk\_20220502\_02 |
| 12.05.2022 | Medtronic BV | HeartWare Ventricular Assist System, HeartWare Battery  Model: 1650DE  S/N: BAT934983, BAT934984, BAT934986, BAT934992 | AIMD: Implantable ventricular circulatory assist system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_23/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_23/documents/1) | Vk\_20220505\_23 |
| 11.05.2022 | Covidien LLC | Argyle Fistula Cannulas with Anti-Reflux Valve  Model: 1530VSVS  Lot: 20H0392, 20K0391  S/N: N/A | MD: Haemodialysis needle | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_20/documents/0) | Vk\_20220505\_20 |
| 10.05.2022 | Becton Dickinson Biosciences | BD Anti-Kappa (TB28-2) APC  Model: 341108  Lot: 1064659  BD Anti-Kappa (TB28-2) PE  Model: 347246  Lot: 1153851, 1284407  BD OneFlow LST  Model: 658619  Lot: 1071401, 1160783, 1180261, 1258383  BD OneFlow PCST  Model: 659912  Lot: 1266231, 1316879 | IVD: Kappa/lambda light chain immunoglobulin IVD, antibody  IVD: Kappa/lambda light chain immunoglobulin IVD, antibody  IVD: Multiple mature lymphocyte cell marker IVD, kit, fluorescent activated cell sorting/flow cytometry (FACS/Flow)  IVD: Multiple mature lymphocyte cell marker IVD, kit, fluorescent activated cell sorting/flow cytometry (FACS/Flow) | [DE-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/0)  [DE-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/1)  [IT-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/2)  [IT-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/3)  [EN-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/4)  [EN-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/5) | Vk\_20220504\_15 |
| 03.05.2022  (Updated 09.05.2022) | DiaSys Diagnostic Systems GmbH | HDL-c direct FS  Model: 1 3561 | IVD: High Density Lipoprotein Cholesterol | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220427_43/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220427_43/documents/1) | Vk\_20220427\_43 |
| 20.04.2022  (Updated 06.05.2022) | RaySearch Laboratories AB (publ) | RayCare  SW-Version: 5.0.0.60390, 5.0.1.60052 or 5.1.0.61073 | MD: Radiology information system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/3) | Vk\_20220412\_17 |
| 27.04.2022  (Updated 05.05.2022) | DiaMed GmbH | IH-QC 3  Model: 08730; 009323  Lot: 08730 72 1 (SAP 709953721) | IVD: Multiple immunohaematology test IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/0)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/2) | Vk\_20220425\_01 |
| 26.04.2022  (Updated 05.05.2022) | Ortho Clinical Diagnostics | ORTHO VISION Analyzer  Model: 6904579  Lot: Not Applicable  S/N: Not Applicable  SW-Version: 5.13.4 and below  ORTHO VISION Max Analyzer  Model: 6904578  Lot: Not Applicable  S/N: Not Applicable  SW-Version: 5.13.4 and below | IVD: Blood group/antibody screening analyser IVD, automated  IVD: Blood group/antibody screening analyser IVD, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/3) | Vk\_20220422\_26 |
| 04.05.2022 | HeartWare Inc. | HeartWare Ventricular Assist System  Model: MCS1705PU, 1104  S/N: All | AIMD: Implantable ventricular circulatory assist system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/2)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/3) | Vk\_20220426\_39 |
| 19.04.2022  (Updated 04.05.2022) | Medtronic Inc. | CareLink SmartSync Device Manager  Model: D00U005  S/N: All  Cobalt  Model: DVPA2D1, DVPA2D4, DVPB3D1, DVPB3D4, DDPA2D1, DDPA2D4, DDPB3D1, DDPB3D4, DTPA2D4, DTPA2D1, DTPB2D4, DTPB2D1, DTPA2QQ, DTPA2Q1, DTPB2QQ, DTPB2Q1  S/N: All  Crome  Model: DVPC3D1, DVPC3D4, DDPC3D1, DDPC3D4, DTPC2D4, DTPC2D1, DTPC2QQ, DTPC2Q1  S/N: All | AIMD: Cardiac pulse generator programmer  AIMD: Cardiac resynchronization therapy implantable defibrillator  AIMD: Cardiac resynchronization therapy implantable defibrillator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/3) | Vk\_20220412\_14 |
| 03.05.2022 | ConMed Corp | Universal Plus Laparoscopic Electrodes  Model: 60-5272-027; 60-5272-032; 60-5272-127; 60-5272-132; 60-5272-227; 60-5272-232; 60-5272-927; 60-5272-932; 60-5274-027; 60-5274-032; 60-5274-044; 60-5274-127; , 60-5274-132; 60-5274-144; 60-5274-227; 60-5274-232; , 60-5274-244; 60-5274-932; 60-5274-944  Lot: 20190801X- 20211031X  SW-Version: None | MD: Endoscopic electrosurgical electrode, monopolar, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/3) | Vk\_20220502\_01 |
| 26.04.2022  (Updated 03.05.2022) | MicroVention Europe S.A.R.L. | Casper Carotid Artery Stent  Model: CPR-0830-143RX  Lot: 2104225AH | MD: Bare-metal carotid artery stent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/0)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/2) | Vk\_20220425\_39 |
| 11.08.2021  (Updated 03.05.2022) | Philips Medical Systems DMC GmbH | CombiDiagnost R90 R1.1, Upgrades for CombiDiagnost R90  Model: 709031 and 709130  SW-Version: R1.1.1 / R1.1.2 | MD: Radiographic/fluoroscopic unit, mobile | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/3) | Vk\_20210809\_07 |
| 02.05.2022 | Seegene Inc. | Allplex SARS-CoV-2 Variants II Assay  Model: RV10305X  SW-Version: Seegene Viewer for Real time Instruments V3.26.001 | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT) | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220429_10/documents/0) | Vk\_20220429\_10 |
| 02.05.2022 | Avanos Medical, lnc. | CORTRAK 2 Enteral Access System (EAS)  Model: 20-0950; P20-0950  S/N: All | MD: Enteral tube tracking system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/3) | Vk\_20220414\_13 |
| 25.03.2022  (Updated 02.05.2022) | Instrumentation Laboratory Co. | HemosIL ReadiPlasTin  Model: 00020301400  Lot: ALL  SW-Version: NOT APPLICABLE | IVD: Prothrombin time (PT) IVD, kit, clotting | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/1)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/2)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/3) | Vk\_20220318\_04 |
| 29.04.2022 | Maquet Critical Care AB | Flow-c  Model: 6887700  Flow-e  Model: 6887900 | MD: Anaesthesia workstation, general-purpose  MD: Anaesthesia workstation, general-purpose | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/3) | Vk\_20220413\_05 |
| 26.04.2022  (Updated 28.04.2022) | Mölnlycke Health Care AB | Mölnlycke Procedure Trays containing SOL-M Blunt Fill Needle  Model: see FSN | MD: various surgical procedure kits | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/2) | Vk\_20220425\_38 |
| 20.04.2022  (Updated 28.04.2022) | Life Technologies Corporation, a part of Thermo Fisher Scientific | Amplitude Platform with TaqPath COVID-19 HAT Kit  Model: A50883 | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/3) | Vk\_20220420\_17 |
| 27.04.2022 | B. Braun Surgical S. A. | Monoplus Violett  Model: C0024436  Lot: 121464 | MD: Polyester suture, bioabsorbable, monofilament, non-antimicrobial | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_40/documents/0) | Vk\_20220425\_40 |
| 27.04.2022 | Medtronic Inc. | Cardioblate IRF Surgical Ablation Device  Model: 49260; 49351  Lot: all lots | MD: Cardiac radio-frequency ablation system generator | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_24/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_24/documents/1) | Vk\_20220420\_24 |
| 23.12.2020  (Updated 27.04.2022) | DiaMed GmbH | ID-DiaCell; ID-Dia Screen; ID-Dia Panel  Model: see FSN  Lot: All lot currently in date | IVD: reagent red blood cell | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/3)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/4)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/5)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/6)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/7) | Vk\_20201217\_09 |
| 19.04.2022  (Updated 21.04.2022) | Teleflex Medical SND BHD | Smooth-Flo Flex  Model: 22552  Lot: see FSN  Gibeck Humid-Vent 2S Flex DC  Model: 17731; 17732  Lot: see FSN  Gibeck Humid-Vent Filter Compact S with Flex Tube  Model: 19812  Lot: see FSN  Flex Tube  Model: 20011  Lot: see FSN  Gibeck Humid-Vent Filter Compact S with Smooth-Flo / Swivel  Model: 19061; 19062  Lot: see FSN  Smooth-Flo Flex with Double Swivel  Model: 22511; 22512  Lot: see FSN | MD: Heat/moisture exchanger/microbial medical gas filter  MD: Heat/moisture exchanger, single-use  MD: Heat/moisture exchanger, single-use  MD: Breathing circuit catheter mount, single-use  MD: Heat/moisture exchanger, single-use  MD: Heat/moisture exchanger/microbial medical gas filter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/3) | Vk\_20220413\_09 |
| 25.03.2022  (Updated 21.04.2022) | Abbott Medical | MERLIN & MERLIN 2 PATIENT CARE SYSTEM (PCS)  Model: 3650, MER3700  SW-Version: 3650: Software model 3330 v25.0.X - v25.3.X, MER3700: Software model MER3400 v1.1.X - v1.3.X, used with Gallant, Neutrino NxT, Entrant devices | AIMD: Cardiac pulse generator software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/3)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/4)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/5)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/6)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/7) | Vk\_20220315\_14 |
| 20.04.2022 | Waters Corporation | Xevo TQ-S  Model: 186005453IVD  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN  Xevo TQD  Model: 186005833IVD  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN  Xevo TQ-S Micro  Model: 186007833IVD  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN  Xevo TQ-XS  Model: 186008453IVD  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN  NeoLynx  Model: 667005682IVD, 667002653  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN  IonLynx  Model: 667005757IVD  S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M  SW-Version: See FSN | IVD: Mass spectrometry analyser IVD, semi-automated  IVD: Mass spectrometry analyser IVD, semi-automated  IVD: Mass spectrometry analyser IVD, semi-automated  IVD: Mass spectrometry analyser IVD, semi-automated  IVD: Mass spectrometry analyser IVD, semi-automated  IVD: Mass spectrometry analyser IVD, semi-automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_01/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_01/documents/1) | Vk\_20220414\_01 |
| 20.04.2022 | Weinmann Emergency Medical Technology GmbH + Co. KG | Li-Ion battery for ACCUVAC Pro  Model: WM 11603  S/N: Devices affected are: shipped in the period 2021-11-10 to 2021-12-21, Art.: 70433001 and Art.: 70439801 | MD: Suction system, emergency | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/2) | Vk\_20220413\_18 |
| 20.04.2022 | Radiometer Medical ApS | PICO50 Arterial Blood Sampler  Model: 956-552; 956-552  Lot: All batches manufactured from 29Mar2020-29Mar2022. | IVD: Blood gas syringe IVD, sodium heparin | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/2) | Vk\_20220408\_16 |
| 13.04.2022  (Updated 20.04.2022) | Karl Storz SE und Co. KG | Rhino-Laryngo-Fiberscope  Model: 11001RD1; 11001UD1; 11001UDK1  S/N: All  Broncho-Fiberscope  Model: 11003BC1; 11005BC1; 11005BCK1  S/N: All  Cysto-Urethro-Fiberscope  Model: 11272CU1; 11272CUK1; 11278ACU1; 11278ACUK1; 11272C1; 11272CK1; 11278AC1; 11278ACK1; 11272CI1; 11272CIK1; 11272CIU1; 11272CIUK1  S/N: All  CMOS Video Cysto-Urethroscope  Model: 11272V; 11272VK; 11272VU; 11272VUK  S/N: All  Uretero-Reno-Fiberscope FLEX-X2S  Model: 11278AU1; 11278AUK1; 11278A1; 11278AK1  S/N: All  Choledocho-Fiberscope  Model: 11292AD1; 11292ADK1; 11292ADU1; 11292ADUK1; 11292DE1; 11292DEK1; 11292BD1; 11292BDK1  S/N: All  Uretero-Fiberscope  Model: 11274AA1; 11274AAK1; 11274AAU1; 11274AAUK1; 11278AI1; 11278AIK1; 11278AIU1; 11278AIUK1  S/N: All | MD: Flexible fibreoptic nasopharyngolaryngoscope  MD: Flexible fibreoptic bronchoscope  MD: Flexible fibreoptic cystourethroscope  MD: Flexible video cystoscope, reusable  MD: Flexible fibreoptic ureterorenoscope  MD: Flexible fibreoptic choledochoscope  MD: Flexible fibreoptic ureterorenoscope | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/3) | Vk\_20220407\_01 |
| 19.04.2022 | Siemens Healthcare GmbH | Sensis  Model: 10764561  SW-Version: VC12M  Sensis Lite  Model: 10764562  SW-Version: VC12M  AXIOM Sensis XP  Model: 6623974, 6634633, 6634641, 6634658  SW-Version: VC12M | MD: Cardiac catheterization laboratory computer  MD: Cardiac catheterization laboratory computer  MD: Cardiac catheterization laboratory computer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/2) | Vk\_20220414\_16 |
| 19.04.2022 | GE Medical Systems Information Technologies, Inc. | Carescape Central Station  SW-Version: 2.0.x | MD: Centralized patient monitor | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/3) | Vk\_20220414\_09 |
| 19.04.2022 | Siemens Healthcare Diagnostics Inc | Atellica IM 1300  Model: SMN 11066001  Atellica IM 1600  Model: SMN 11066000 | IVD: Chemiluminescent immunoassay analyser IVD, automated  IVD: Chemiluminescent immunoassay analyser IVD, automated | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_08/documents/0) | Vk\_20220414\_08 |
| 19.04.2022 | Si Us Instruments GmbH | Jameson preparation scissors curved (single-use)  Model: SUBBC1777  Lot: 1010215286 | MD: Dissection scissors | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_23/documents/0) | Vk\_20220412\_23 |
| 19.04.2022 | Siemens Healthcare GmbH | ARTIS icono biplane  Model: 11327600  ARTIS icono floor  Model: 11327700 | MD: Stationary angiographic x-ray system, digital  MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_30/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_30/documents/1) | Vk\_20220411\_30 |
| 12.04.2022  (Updated 19.04.2022) | Abbott Medical | Dragonfly OpStar Imaging Catheter  Model: 1014651, 1014652  Lot: See fsn | MD: Coronary optical coherence tomography system catheter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/3) | Vk\_20220411\_14 |
| 19.04.2022 | Arrow International Inc | Arrow - Kits and Sets with Introducer Needles  Model: Arrow - Kits and Sets with Introducer Needles | MD: Surgical instrument guard, single-use, sterile | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/3) | Vk\_20210609\_20 |
| 14.04.2022 | Synovis Life Technologies, Inc. (a subsidiary of Baxter International Inc.) | Flo-Thru Intraluminal Shunt  Model: FT12150  Lot: SP21J21-1584173; SP21J211584173 | MD: Surgical intravascular shunt | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_13/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_13/documents/1) | Vk\_20220408\_13 |
| 14.04.2022 | Breas Medical AB | Vivo 45, Vivo 45LS, Nippy 4, Nippy 4+  Model: 220000, 230000, 226000, 231000  Lot: Devices delivered prior to 2022-03-31: Vivo 45 with firmware version 1.1.4 or earlier, Vivo 45LS firmware version 3.1.4 or earlier, NIPPY 4: firmware version 2.1.4 or earlier, NIPPY 4+: firmware version 4.1.4 or earlier  S/N: Y\*\*\*\*\*\*, D\*\*\*\*\*\*, K\*\*\*\*\*\*\*, M01\*\*\*\* - M1403\*\*  SW-Version: 1.1.4 / 2.1.4 / 3.1.4 / 4.1.4 or earlier | MD: Pulmonary Ventilators For Non¿hospital Use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/2) | Vk\_20220406\_22 |
| 14.04.2022 | Sirona Dental Systems GmbH | TENEO  Model: 6364157 | MD: Dental delivery unit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/2) | Vk\_20220406\_12 |
| 14.04.2022 | OSATU, S. COOP Edificio Zearrekobuelta | REANIBEX 300  Model: REANIBEX 300  S/N: See FSN  REANIBEX500  Model: REANIBEX 500  S/N: See FSN | MD: Non-rechargeable public semi-automated external defibrillator  MD: Physiologic-monitoring defibrillation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/3) | Vk\_20220406\_11 |
| 13.04.2022 | Von Daniels GmbH | Mask 3.0  Model: 150500/099, 150500/790  Lot: HD 00013508, HD 00013509 | MD: Mask, surgical | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_22/documents/0) | Vk\_20220412\_22 |
| 13.04.2022 | Phadia AB | Phadia 200, Fluorescent immunoassay analyser IVD, laboratory  Model: 12-4300-00  S/N: All serial numbers | IVD: Fluorescent immunoassay analyser IVD, laboratory, automated | [DE-1\_Customer\_Reply](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/0)  [FR-1\_Customer\_Reply](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/2) | Vk\_20220407\_11 |
| 12.04.2022  (Updated 13.04.2022) | Pulsion Medical Systems SE | NICCI  Model: PC6500, PC6510, PV6550, PV6551, PV6552, PC6530, PC6531, PC6532, PC6533, PC6534 | MD: Patient monitoring system module, blood pressure, noninvasive | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_20/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_20/documents/1) | Vk\_20220406\_20 |
| 13.04.2022 | Bio Optica Milano S.p.A. | Schiff reagent Hotchkiss McManus  Model: 05-M20001  Lot: 52211 | IVD: Schiff reagent Hotchkiss McManus | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_13/documents/0) | Vk\_20220406\_13 |
| 13.04.2022 | Vygon GmbH & Co. KG | peelable cannula, microflash  Model: see FSN  Lot: see FSN | MD: Vascular catheter introduction needle | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_14/documents/0) | Vk\_20220331\_14 |
| 29.03.2022  (Updated 13.04.2022) | ACUTRONIC Medical Systems AG | fabian HFOi Ventilator  Model: 113001  SW-Version: older than 5.2.1 | MD: Neonatal intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/3) | Vk\_20220329\_08 |
| 06.09.2021  (Updated 12.04.2022) | Abbott Molecular Inc. | Alinity m SARS-CoV-2 Amplification Reagent Kit  Model: 09N78-090 and 09N78-091  Alinity m Resp-4-Plex Amplification Reagent Kit  Model: 09N79-090 | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT)  IVD: Multiple respiratory virus nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/3)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/4)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/5) | Vk\_20210906\_01 |
| 05.04.2022  (Updated 11.04.2022) | Sol-Millennium Medical, Inc. | SOL-M Blunt Fill Needle  Model: 110021, 110022, BN1815  Lot: See FSN | MD: Medication transfer needle, non-filtering/non-vented | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/3) | Vk\_20220404\_18 |
| 11.04.2022 | Merit Medical Systems, Inc. | Access-9 and AccessPLUS Hemostasis Valves  Model: See attached FSN enclosure  Lot: See attached FSN enclosure | MD: Haemostasis valve | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_04/documents/0)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_04/documents/1) | Vk\_20220322\_04 |
| 05.04.2022  (Updated 08.04.2022) | Abbott Molecular Inc. | Alinity m CMV Amplification Reagent kit  Model: 09N46-090  Lot: All | IVD: Cytomegalovirus (CMV) nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_25/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_25/documents/1) | Vk\_20220404\_25 |
| 08.04.2022 | Randox Laboratories Ltd | CK-MB Calibrator  Model: CK2393  Lot: 4410CK | IVD: Creatine kinase myocardial isoenzyme (CKMB) IVD, calibrator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/3) | Vk\_20220404\_19 |
| 08.04.2022 | SPINEART SA | SECURED LORDOTIC ANTERIOR CERVICAL CAGE / SMALL  Model: SCA-AC LS 06-S  Lot: 5-9556 | MD: Metallic spinal interbody fusion cage | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_01/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_01/documents/1) | Vk\_20220404\_01 |
| 05.04.2022  (Updated 07.04.2022) | Medtronic Inc. | Percept PC BrainSense  Model: B35200  S/N: All | AIMD: Deep brain electrical stimulation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/2) | Vk\_20220331\_16 |
| 07.04.2022 | Intuitive Surgical, Inc | SureForm 45, SureForm 45 Curved-Tip, SureForm 60  Model: 480445, 480545, 480460  Lot: All lots | MD: Robotic surgical cutting stapler, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/2) | Vk\_20220330\_10 |
| 30.03.2022  (Updated 07.04.2022) | SENTINEL CH SpA | Copper  Model: 17638H; 17106  Lot: 00273, 00818, 10323, 10656; 00010, 10033, 10310, 10657  S/N: N/A  SW-Version: N/A  Clin Chem Control  Model: 16150; 16250  Lot: 00234, 00245, 00612, 10022, 10406, 11103; 00317, 00843, 10089, 10899, 20187  S/N: N/A  SW-Version: N/A | IVD: Copper  IVD: Multiple-type clinical chemistry analyte profile IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/3) | Vk\_20220323\_17 |
| 28.10.2021  (Updated 07.04.2022) | GE Medical Systems, LLC | Revolution CT  Model: See FSN  S/N: See FSN | MD: Full-body CT system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/0)  [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/1)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/2)  [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/3)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/4)  [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/5)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/6)  [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/7) | Vk\_20211025\_02 |
| 06.04.2022 | ArjoHuntleigh AB | Sara Plus  Model: HEP0001, HEP2001; N/A  Lot: N/A  S/N: P0653395  SW-Version: N/A | MD: Mobile patient lifting system, electrically-powered | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220328_18/documents/0) | Vk\_20220328\_18 |
| 05.04.2022 | Abbott Molecular Inc. | Alinity m EBV Amplification Reagent Kit  Model: 09N43-090  Lot: All | IVD: Epstein-Barr virus (EBV) nucleic acid IVD, kit, nucleic acid technique (NAT) | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_24/documents/0) | Vk\_20220404\_24 |
| 05.04.2022 | GE Medical Systems LLC, GE Healthcare Tianjin Company Limited, GE Healthcare (China) Co., Ltd. | Brivo MRI System  Model: See FSN  Optima MRI System  Model: See FSN  Signa MR/i MR System  Model: See FSN  OrthOne MRI System  Model: See FSN  MSK Extreme MRI System  Model: See FSN  Discovery MRI System  Model: See FSN  MR Max MRI System  Model: See FSN  MR Vectra MRI System  Model: See FSN  SmartSpeed MRI System  Model: See FSN  EchoSpeed MRI System  Model: See FSN  HighSpeed Plus MRI System  Model: See FSN | MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: MRI system, superconducting magnet  MD: MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet  MD: Full-body MRI system, superconducting magnet | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/3) | Vk\_20220401\_16 |
| 05.04.2022 | Medtronic Inc. | Vanta with AdaptiveStim Technology Primary cell neurostimulator  Model: 977006  S/N: All | AIMD: Spinal cord/peripheral nerve implantable analgesic electrical stimulation system pulse generator, implantable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_20/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_20/documents/1) | Vk\_20220331\_20 |
| 16.03.2022  (Updated 05.04.2022) | Philips Medical Systems Nederland BV | Philips Azurion system  Model: 722063, 722064, 722065, 722066, 722067, 722068, 722078, 722079; NA  SW-Version: Philips Azurion R1.x | MD: Stationary general-purpose fluoroscopic x-ray system, analogue | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/2) | Vk\_20220310\_29 |
| 05.04.2022 | Maquet Critical Care AB | Advanta V12 Covered Stent System  Model: see FSN  Lot: All  SW-Version: NA | MD: Iliofemoral artery endovascular stent-graft | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/2) | Vk\_20220308\_04 |
| 30.03.2022  (Updated 04.04.2022) | Abbott GmbH | Alinity i Homocysteine Reagent Kit  Model: 09P28-20  Lot: 11406UP00, 11453UP00, 11466UP00, 11486UP00, 11485UP00 | IVD: Homocysteine IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/0)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/2) | Vk\_20220325\_31 |
| 31.03.2022  (Updated 04.04.2022) | Baxter Healthcare SA | PRISMAX V3 Control Unit-Row  Model: 955725  PrisMax, V2 ROW  Model: 955558 | MD: Haemodialysis system, institutional  MD: Haemodialysis system, institutional | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_05/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_05/documents/1) | Vk\_20220322\_05 |
| 04.04.2022 | Fin-Ceramica Faenza SpA | MaioRegen | MD: Orthopaedic surgical procedure kit, non-medicated, reusable | [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_13/documents/0)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_13/documents/1) | Vk\_20220321\_13 |
| 01.04.2022 | Bruker Daltonik GmbH | Mueller-Hinton Broth, cation-adjusted  Model: E2-331-020; E2-331-100  Lot: See FSN | IVD: BCYE Legionella species agar culture medium IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/2)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/3) | Vk\_20220324\_28 |
| 30.03.2022  (Updated 01.04.2022) | Bio-Rad Medical Diagnostics GmbH | Anti-Lua (LU1)  Model: 808216  Lot: 3113160-00  SW-Version: n/a | IVD: Anti-Lu^a red blood cell grouping IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/1)  [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/2) | Vk\_20220322\_12 |
| 01.04.2022 | Olympus Medical Systems Corp. | DISPOSABLE GRASPING FORCEPS  Model: FG-51D, FG-55D  Lot: all | MD: Gastrointestinal/airway foreign body retrieval basket, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/0)  [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/1)  [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/2) | Vk\_20220315\_15 |