**Інформація, отримана з іноземних систем повідомлення про продукцію, що становить серйозний ризик, за період 01.04.2022 – 30.06.2022**

**Швейцарія**

## <https://fsca.swissmedic.ch/mep/#/>

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 29.06.2022  | Meridian Bioscience, Inc. | Revogene Model: 610210 (Meridian-branded); 130840 (GenePOC-branded) S/N: All  | IVD: NA Integrated Extraction/Amplification/Detection Hardware + accessories + consumables + software | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220624_24/documents/0)  | Vk\_20220624\_24  |
| 28.06.2022  | Spacelabs Healthcare | Xhibit Telemetry Receiver (XTR) Model: 96280 SW-Version: v.1.4.0  | MD: Electrocardiography telemetric monitoring system receiver | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220628_03/documents/3)  | Vk\_20220628\_03  |
| 26.04.2022 (Updated 28.06.2022)  | Lohmann & Rauscher GmbH & Co. KG | Gauze swabs with x-ray thread in Kitpack (procedure packs) and SetPack (individual products) Model: See FSN Lot: See FSN  | MD: Woven gauze pad | [DE-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/0) [DE-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/1) [DE-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/2) [DE-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/3) [FR-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/4) [FR-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/5) [FR-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/6) [FR-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/7) [IT-1.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/8) [IT-1.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/9) [IT-2.1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/10) [IT-2.2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_14/documents/11)  | Vk\_20220422\_14  |
| 27.06.2022  | BS Medical Tech Industry Sarl | Flocare DirectPEG Model: CH12; 656893; CH14; 656707  | MD: Gastro-jejunostomy, Tubes And Sets | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_01/documents/2)  | Vk\_20220616\_01  |
| 24.06.2022  | EUROIMMUN Medizinische Labordiagnostika AG | Anti-IA2 ELISA (IgG) Model: EA 1023-9601 G Lot: E220215BA  | IVD: Thyrosin Phosphatase IA2 Antibodies | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220615_13/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220615_13/documents/1)  | Vk\_20220615\_13  |
| 24.06.2022  | Abbott GmbH | ARCHITECT Hemoglobin A1c (A1c) Model: 4P52-20 Lot: 59588UQ04, 59868UQ05, 59900UQ06, 60138UQ07, 60237UQ08, 60535UQ08, 60698UQ09, 60880UQ10, 61066UQ11, 61246UQ01, 61250UQ01 Alinity c Hemoglobin A1c (HbA1c) Model: 08P4320 and 08P4377 Lot: 59561UQ04, 59779UQ05, 60229UQ07, 60540UQ09, 61011UQ10, 61349UQ01, 61658UQ01, 59801UQ04, 60763UQ09  | IVD: Glycated haemoglobin (HbA1c) IVD, kit, nephelometry/turbidimetryIVD: Glycated haemoglobin (HbA1c) IVD, kit, nephelometry/turbidimetry | [DE-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/0) [DE-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/1) [FR-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/2) [FR-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/3) [IT-1-A1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/4) [IT-1-HbA1c](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_06/documents/5)  | Vk\_20220614\_06  |
| 23.06.2022  | Zimmer Switzerland Manufacturing GmbH | NCB Screws, 5.0mm Model: 02.03150.038; N/A Lot: 3101299 S/N: N/A SW-Version: N/A  | MD: Internal orthopaedic fixation system, plate/screw, non-bioabsorbable, non-sterile | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_18/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_18/documents/1)  | Vk\_20220609\_18  |
| 22.06.2022  | Schiller Medical SAS | DEFIGARD TOUCH7 S/N: All serial numbers SW-Version: Software version less than Soft09  | MD: Physiologic-monitoring defibrillation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_22/documents/2)  | Vk\_20220617\_22  |
| 21.06.2022  | Medline Industries, LP | Soft suction liner Model: see FSN Lot: see FSN  | MD: Suction system canister liner | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220617_26/documents/3)  | Vk\_20220617\_26  |
| 21.06.2022 (Updated 21.06.2022)  | Abbott Medical | MERLIN PATIENT CARE SYSTEM (PCS) Model: 3650 SW-Version: 3330 25.3.2 or earlier MERLIN 2 PATIENT CARE SYSTEM (PCS) Model: MER3700 SW-Version: MER3400 1.1.2 or earlier Merlin.net Model: MN5000 SW-Version: v11.7 Remote Monitoring Application used with Accent/Anthem and Endurity/Assurity/Allure family of pacemakers  | AIMD: Cardiac pulse generator softwareAIMD: Cardiac pulse generator softwareAIMD: Cardiac pulse generator software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220616_13/documents/3)  | Vk\_20220616\_13  |
| 21.06.2022  | Beckman Coulter India Pvt Limited | DURAClone B27 Reagent Kit Model: B36862 Lot: see FSN  | IVD: Multiple CD cell marker IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_26/documents/2)  | Vk\_20220614\_26  |
| 21.06.2022  | Thermo Fisher Scientific | Thermo Scientific IDEIA Lyme Neuroborreliosis Model: K602811-2 Lot: 3346025, 3382296, 3399374  | IVD: Borrelia burgdorferi antigen IVD, kit, enzyme immunoassay (EIA) | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_14/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_14/documents/1)  | Vk\_20220614\_14  |
| 21.06.2022  | Siemens Healthcare GmbH | Sensis, Sensis Vibe Combo  | MD: Cardiac catheterization laboratory computer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220614_08/documents/2)  | Vk\_20220614\_08  |
| 21.06.2022  | Gebrüder Martin GmbH & Co. KG | UHP Stem Standard+, medium / large, Ti, sterile Model: 26-210-13-09 resp. 26-210-05-09 Lot: 33477990 resp. 33477969  | MD: Wrist Prostheses Radial-ulnar Components | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220610_11/documents/0)  | Vk\_20220610\_11  |
| 07.06.2022 (Updated 21.06.2022)  | Respironics California, LLC | V680 Ventilator Model: 47244  | MD: General-purpose intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_04/documents/3)  | Vk\_20220603\_04  |
| 24.05.2022 (Updated 21.06.2022)  | Roche Diabetes Care GmbH | Accu-Chek Insight Adapter & Tubing Model: 06485472001; 06485499001; 06485464001 Lot: Lots lower than: 1354241 (REF 06485472001) 1355360 (REF 06485499001) 1354242 (REF 06485464001  | MD: Kit For Continuous Subcutaneous Insulin Infusion | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/2) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220517_12/documents/3)  | Vk\_20220517\_12  |
| 15.06.2022 (Updated 20.06.2022)  | NordicNeuroLab AS | nordicBrainEx Model: 2.3 S/N: 2.2.1 to 2.3.10 SW-Version: 2.3.10  | MD: MRI system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_12/documents/3)  | Vk\_20220613\_12  |
| 16.06.2022 (Updated 20.06.2022)  | The Spectranetics Corporation | Philips Laser System Model: LAS-100 S/N: Reference Attachment 1 Consignee List  | MD: Atherectomy excimer laser system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_14/documents/3)  | Vk\_20220609\_14  |
| 14.06.2022 (Updated 20.06.2022)  | Ventana Medical Systems Inc | VENTANA HE 600 System Model: 06917259001  | IVD: Microscope slide stainer IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_16/documents/2)  | Vk\_20220608\_16  |
| 20.06.2022  | Hamilton Medical AG | Hamilton-C6 Model: 160021  | MD: Ventilators, Intensive Care | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220602_19/documents/3)  | Vk\_20220602\_19  |
| 20.06.2022  | Laboratoires BIOTIC PHOCEA | BiochromaDerm Model: 0D001-AR02, 0D001-AR10, 0D001-AR12, 0D001-AR13, 0D001-AR14, 0D001-AR15, 0D001-AR16, 0D001-AR20, 0D001-AR22, 0D001-AR23, 0D001-AR24, 0D001-AR25, 0D001-LP04, 0D001-LP29, 0D001-CC06 Lot: See FSN BiochromaEyes Model: 0D008-CT82, 0D008-CT83, 0D008-CT88 Lot: See FSN  | MD: Tattoo ink, dermalMD: Tattoo ink, ocular | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_16/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_16/documents/1)  | Vk\_20220502\_16  |
| 17.06.2022  | DePuy Orthopaedics, Inc. | MODULAR CATHCART FRACTURE HEAD Model: see FSN Lot: see FSN  | MD: Metallic femoral head prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_01/documents/2)  | Vk\_20220607\_01  |
| 16.06.2022  | O-Two Medical Technologies Inc. | Resuscitation and Anesthesia Facemasks Model: 02FM4999-CS, 02FM500-CS, 02FM5001-CS Lot: 190604, 191102, 191202, 200319, 200404  | MD: Anaesthesia face mask, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220609_10/documents/3)  | Vk\_20220609\_10  |
| 16.06.2022  | Agilent Technologies Singapore Pte Ltd. | AriaDx Real-Time PCR Instrument / Agilent Model: K8930A; K8930-90001 S/N: see FSN  | IVD: Thermal cycler nucleic acid amplification analyser IVD, laboratory, semi-automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220608_04/documents/3)  | Vk\_20220608\_04  |
| 04.03.2022 (Updated 16.06.2022)  | ConvaTec Limited | Natura Accordion Flange Convex Cut-to Fit wafer Lot: 1F00229, 1F01439  | MD: Intestinal ostomy base plate, convex | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220228_18/documents/7)  | Vk\_20220228\_18  |
| 07.06.2022 (Updated 15.06.2022)  | Randox Laboratories Ltd | Randox Soluble Transferrin Receptors (STFR) Model: TF10159 Lot: 537714, 54830, 562691, 575475, 589051 Randox Soluble Transferrin Receptors Calibrator Series (STFR CAL) Model: TF10161 Lot: 537725, 548501, 562696, 575482, 589060  | IVD: Soluble transferrin receptor IVD, kit, nephelometry/turbidimetryIVD: Soluble transferrin receptor IVD, calibrator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220601_25/documents/3)  | Vk\_20220601\_25  |
| 23.05.2022 (Updated 15.06.2022)  | Maquet SAS | Volista STANDOP Model: See FSN S/N: see FSN  | MD: Operating room light | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_26/documents/2)  | Vk\_20220510\_26  |
| 14.06.2022  | Siemens Healthcare GmbH | ARTIS pheno  | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_16/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220613_16/documents/1)  | Vk\_20220613\_16  |
| 14.06.2022  | Thermo Fisher Scientific | MicroTest M4RT 3mL w/o Beads NP Swab Kit 100/pk Model: R12705 Lot: 472505  | IVD: Swap | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_36/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_36/documents/1)  | Vk\_20220607\_36  |
| 07.06.2022 (Updated 09.06.2022)  | B. Braun Melsungen AG | REDOVAC Model: see FSN Lot: see FSN  | MD: Intra-operation Fluid Collection Devices - Other | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220607_10/documents/2)  | Vk\_20220607\_10  |
| 22.02.2021 (Updated 09.06.2022)  | Medtronic Inc. | Valiant NavionTM Thoracic Stent Graft System Model: All Lot: All S/N: - SW-Version: N/A  | MD: Descending thoracic aorta endovascular stent-graft | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/1) [DE-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/2) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/3) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/4) [FR-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/5) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/6) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/7) [IT-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/8) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/9) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/10) [EN-3](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210218_20/documents/11)  | Vk\_20210218\_20  |
| 31.05.2022 (Updated 08.06.2022)  | IBL International GmbH | Testosterone Luminescence Immunoassay Model: RE62039; RE62031 Lot: LTE196 / LTE197  | IVD: Total testosterone IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_24/documents/2)  | Vk\_20220525\_24  |
| 18.05.2022 (Updated 08.06.2022)  | Löwenstein Medical Technology GmbH + Co. KG | prisma VENT30(-C), prisma VENT40, TIVAN 30(40) Model: 29550HL-4110 S/N: 32061864, 32061865, 32061866, 32061868, 32061869, 32061872, 32061874, 32061875, 32061876, 32061877, 32061878, 32061882, 32061883, 32061884, 32061885, 32061887, 32061888, 32061889, 32061890, 32061891  | MD: Portable electric ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220511_08/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220511_08/documents/1)  | Vk\_20220511\_08  |
| 07.06.2022  | RaySearch Laboratories AB (publ) | RayStation Model: 9B SP1, 10A SP1, 11A SP1, 11A SP2 SW-Version: 9.2.0.483, 10.0.1.52, 11.0.1.29, 11.0.3.116  | MD: Radiation therapy software | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220603_13/documents/0)  | Vk\_20220603\_13  |
| 31.05.2022 (Updated 07.06.2022)  | Carl Zeiss Meditec AG | Z-Hyalon/ Z-Hyalon Plus Lot: All products within expiry date are affected S/N: 000000-1941-242, 000000-1941-243, 000000-1941-244, 000000-1941-245, 000000-1941-246 SW-Version: n/a  | MD: Vitreous/aqueous humour replacement medium, intraoperative | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_46/documents/2)  | Vk\_20220530\_46  |
| 07.06.2022  | Ambu A/S | Ambu VivaSight 2 DLT Model: 412351000: VivaSight 2 DLT Kit 35 Fr - LEFT 412371000: VivaSight 2 DLT Kit 37 Fr - LEFT 412391000: VivaSight 2 DLT Kit 39 Fr - LEFT 412411000: VivaSight 2 DLT Kit 41 Fr - LEFT  | MD: Endobronchial tube | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_41/documents/3)  | Vk\_20220530\_41  |
| 22.03.2022 (Updated 07.06.2022)  | NeuMoDx Molecular, a QIAGEN Company | NeuMoDx HIV-1 Quant Test Strips Model: 300500 Lot: n/a S/N: n/a NeuMoDx HCV Quant Test Strips Model: 300300 Lot: n/a S/N: n/a  | IVD: HIV-1 Quant TestIVD: HCV Quant Test | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220317_23/documents/7)  | Vk\_20220317\_23  |
| 03.06.2022  | Cordis Cashel | Cordis PALMAZ GENESIS Peripheral Stent on OPTA Pro Model: PG2990PPS, PG2990PPX, PG3990PPS, PG3990PPX Lot: Refer to Table 1 in FSN letter  | MD: Multiple peripheral artery stent, bare-metal | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_52/documents/2)  | Vk\_20220530\_52  |
| 03.06.2022  | ZELTIQ Aesthetics, Inc. | CoolCore Model: BRZ-AP1-063-000 S/N: All CoolCurve, CoolCurve+ Model: BRZ-AP1-062-000; BRZ-AP1-064-000 S/N: All CoolFit Model: BRZ-AP1-066-000 S/N: All CoolMax Model: BRZ-AP1-080-000 S/N: All  | MD: Cryolipolysis body contouring system applicatorMD: Cryolipolysis body contouring system applicatorMD: Cryolipolysis body contouring system applicatorMD: Cryolipolysis body contouring system applicator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_50/documents/3)  | Vk\_20220530\_50  |
| 03.06.2022  | Illumina, Inc | NextSeq 550Dx Model: 20005715 MiSeqDx Instrument Model: DX-410-1001 / 15036706 / 20014053  | IVD: Nucleic acid sequence analyser IVD, next-generation sequencing (NGS)IVD: Nucleic acid sequence analyser IVD, next-generation sequencing (NGS) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_16/documents/3)  | Vk\_20220509\_16  |
| 02.06.2022  | Mölnlycke Health Care AB | SECTIO SET Model: See attached Product Table Lot: See attached Product Table S/N: See attached Product Table  | MD: General/plastic surgical procedure kit, non-medicated, single-use | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_35/documents/0)  | Vk\_20220525\_35  |
| 01.03.2022 (Updated 02.06.2022)  | Stryker Endoscopy | 1688 Camera Control Unit (CCU) Model: 1688010000, 1688010000I Lot: All SW-Version: 3.0.6, 4.0.13, 4.0.18  | MD: Camera control unit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/2) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/3) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220218_29/documents/4)  | Vk\_20220218\_29  |
| 01.06.2022  | Menarini Silicon Biosystems lnc. | CellSearch Circulating Tumor Cell Kits Model: Kit; 7900001 Lot: S108 S/N: Not Applicable SW-Version: Not Applicable  | IVD: Radiation therapy treatment record/verify system | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_38/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_38/documents/1)  | Vk\_20220530\_38  |
| 31.05.2022 (Updated 01.06.2022)  | Siemens Healthcare GmbH | Artis zeego  | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220525_10/documents/1)  | Vk\_20220525\_10  |
| 31.05.2022  | ConvaTec Limited | Varihesive Extra Thin 10x10cm (1x5pk)Varihesive Ex Lot: 1H04380 S/N: 187954  | MD: Exudate-absorbent dressing, hydrophilic-gel, non-antimicrobial | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_45/documents/3)  | Vk\_20220530\_45  |
| 31.05.2022  | Medline Industries Inc. | Removable L-connector for Medline MED-SOFT Liner Model: OR53916, OR929K, OR53926, OR53929, OR926K Lot: 670210727, 670211116, 670211109, 670211027, 670211116  | MD: Suction system canister liner | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220530_36/documents/3)  | Vk\_20220530\_36  |
| 31.05.2022  | Siemens Healthcare GmbH | ARTIS icono biplane S/N: ARTIS icono biplane Systeme  | MD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220524_17/documents/0)  | Vk\_20220524\_17  |
| 17.05.2022 (Updated 31.05.2022)  | MAQUET Cardiopulmonary GmbH | Heater Unit HU35 Model: 70103.5259; 70104.9090; 70107.2162; 70107.2163 S/N: All HU 35 units are affected since production start up to serial number 90039999 (HU 35, 230 V) and up to serial number 90034999 (HU35, 115 V).  | MD: Cardiopulmonary bypass system heat exchanger, reusable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220510_20/documents/2)  | Vk\_20220510\_20  |
| 24.05.2022 (Updated 30.05.2022)  | Abbott Vascular | Absolute Pro LL Peripheral Self-Expanding Stent System Model: All Lot: All  | MD: Multiple peripheral artery stent, bare-metal | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_12/documents/3)  | Vk\_20220523\_12  |
| 30.05.2022  | TRUSETAL VERBANDSTOFFWERK GMBH | TRU-PACK surgical procedure kits Model: CHVI002-01; CHVI002-02 Lot: 38AH21; 16AR22  | MD: Ophthalmic surgical procedure kit, non-medicated, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_11/documents/3)  | Vk\_20220519\_11  |
| 30.05.2022  | Keystone Heart | TriGUARD 3 Cerebral Embolic Protection Device Model: FG00005 Lot: 3.0HS20210904, 3.0HS20211007, 3.0HS20210924  | MD: Intravascular Embolic Protection Catheters And Systems - Other | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_23/documents/0)  | Vk\_20220509\_23  |
| 25.05.2022  | B. Braun Medical AG | Discofix C Model: 16600C; 16605C; 16608C; 16610C; 16611C; 16615C Lot: See FSN  | MD: Intravenous line stopcock | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_22/documents/2)  | Vk\_20220519\_22  |
| 25.05.2022  | Bohus BioTech AB | Microvisc Lot: See FSN Microvisc Plus Lot: See FSN Microvisc Phaco Lot: See FSN BBTvisc Lot: See FSN  | MD: Vitreous/aqueous humour replacement medium, intraoperativeMD: Vitreous/aqueous humour replacement medium, intraoperativeMD: Vitreous/aqueous humour replacement medium, intraoperativeMD: Vitreous/aqueous humour replacement medium, intraoperative | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220518_21/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220518_21/documents/1)  | Vk\_20220518\_21  |
| 24.05.2022  | Össur hf | Vari-Flex Junior Model: VJB0CSSR, VJB0CSSL  | MD: Mechanical-resistance external ankle-foot prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_25/documents/3)  | Vk\_20220523\_25  |
| 24.05.2022  | GE Healthcare IITS USA Corporation | Centricity Universal Viewer Zero Footprint Client SW-Version: see FSN Centricity PACS RA1000 Workstation Software SW-Version: see FSN Centricity Radiology RA600 SW-Version: see FSN Centricity Cardiology CA1000 SW-Version: see FSN GE Centricity Enterprise Web SW-Version: see FSN  | MD: Medical image management systemMD: Radiological PACS softwareMD: Medical image management systemMD: Medical image management systemMD: Radiological PACS software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220523_15/documents/3)  | Vk\_20220523\_15  |
| 24.05.2022  | Datex-Ohmeda Inc. | Carescape R860 Model: See FSN Lot: See FSN  | MD: Neonatal/adult intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220520_25/documents/3)  | Vk\_20220520\_25  |
| 24.05.2022  | FX SOLUTIONS | HUMELOCK REVERSED STEM Model: 312-3612 Lot: S1773 SW-Version: Not applicable  | MD: Shoulder Prostheses Humeral Components | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_19/documents/0)  | Vk\_20220519\_19  |
| 24.05.2022  | Albomed GmbH | Pe-Ha-Luron Model: 00037, 00040, 00042, 03417 Lot: All batches within expiry date  | MD: Aqueous/vitreous humour replacement medium kit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220519_12/documents/0)  | Vk\_20220519\_12  |
| 24.05.2022  | Dedienne Santé | DS Evolution Model: 52.34.0903 Lot: 266564020B Gyracup E Cementless Model: Cup: 3700502203608; Insert PE: 3700502203912, 3700502203981 Lot: Cup: 262487072A; Insert PE: 227783750B, 227783940C SYMBOL CUP NA Model: 3700502203448 Lot: 268417090A SYMBOL STEM Model: 3700502202724; 3700502202731 Lot: Ref: 3700502202724: lot: 266572211A; Ref: 3700502202731: lot: 266572220A, 266572231A  | MD: Acetabular shellMD: Acetabular shellMD: Non-constrained polyethylene acetabular linerMD: Press-fit femoral stem prosthesis | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_06/documents/3)  | Vk\_20220506\_06  |
| 21.04.2022 (Updated 24.05.2022)  | Smiths Medical ASD, Inc. | Medfusion Syringe Infusion pump Model: 3500 and 4000 Lot: see FSN  | MD: Syringe pump | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_04/documents/3)  | Vk\_20220330\_04  |
| 23.05.2022  | Radiometer Medical ApS | ABL700 and ABL800 Flex series Model: 393-800, 393- 801, 393-700; 393-800, 393- 801, 393-700 Lot: All analyzers SW-Version: All software version below V6.19 MR2.  | IVD: Blood gas/pH/electrolyte/metabolite analyser | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_21/documents/2)  | Vk\_20220505\_21  |
| 23.05.2022  | enverdis medical solutions GmbH | CARDIOLOGIC EXPLORER Model: E12K3U SW-Version: >= 3.0.0.0  | MD: Electrocardiographs, Multichannel, Interpretive | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211207_15/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211207_15/documents/1)  | Vk\_20211207\_15  |
| 20.05.2022  | Alcon Laboratories, Inc. | Alcon AutonoMe Pre-loaded Delivery System Model: CNA0T0.240 Lot: 25238775  | MD: Posterior-chamber intraocular lens, pseudophakic | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220512_16/documents/0) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220512_16/documents/1)  | Vk\_20220512\_16  |
| 19.05.2022  | Laboratoires Euromedis | Sterile crepe bandage Model: 135195 to 135199 / 135700 to 135705 Lot: all batches excepted batches with expiry date  | MD: CND M.05.99 | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_05/documents/0)  | Vk\_20220426\_05  |
| 18.05.2022  | Hill-Rom S.A.S. | Hill-Rom 900 Model: LI900B2 S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893 Ampera Model: LI901A0 S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893 Centuris Pro Model: LI900B1 S/N: HRP004280243 HRP004280244 HRP004280245 HRP004280246 HRP004280247 HRP004280248 HRP004280251 HRP004280252 HRP004243892 HRP004243893  | MD: Basic electric hospital bedMD: BedrailMD: Bedrail | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_07/documents/3)  | Vk\_20220516\_07  |
| 18.05.2022  | Covidien llc | EEA Auto Suture Circular Stapler with DST Series Technology 25mm Model: EEA25, EEA2535, EEAXL25, EEAXL2535 Lot: All  | MD: Intraluminal circular stapler, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_21/documents/3)  | Vk\_20220513\_21  |
| 10.05.2022 (Updated 18.05.2022)  | Medtronic Xomed Inc | EMG TUBE REINFORCED 6MM / PRO PIN; EMG TUBE REINFORCED 7MM / PRO PIN (1/EA); EMG TUBE REINFORCED 8MM / PRO PIN (1/EA) Model: 8229306, 8229307, 8229308 ENDOTRACHEAL TUBE 6MM EMG CONTACT (1/EA); ENDOTRACHEAL TUBE 7MM EMG CONTACT (1/EA); ENDOTRACHEAL TUBE 8MM EMG CONTACT (1/EA) Model: 8229506, 8229507, 8229508  | MD: Reinforced endotracheal tube, single-useMD: Basic endotracheal tube, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220506_10/documents/3)  | Vk\_20220506\_10  |
| 17.05.2022  | Bio-Rad Medical Diagnostics GmbH | Anti-Lua (LU1) Model: 808216 Lot: 3131020-00, 3131030-00 SW-Version: n/a  | IVD: Anti-Lu^a red blood cell grouping IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_05/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220516_05/documents/1)  | Vk\_20220516\_05  |
| 17.05.2022  | Bioretec Ltd. | Activa IM-Nail Model: see FSN Lot: see FSN  | MD: Intramedullary Nails | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220513_26/documents/0)  | Vk\_20220513\_26  |
| 17.05.2022  | Drägerwerk AG & Co. KGaA | SafeStar 55 Model: MP01790 Lot: 2103  | MD: Filters, Ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_31/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220509_31/documents/1)  | Vk\_20220509\_31  |
| 17.05.2022  | Biomedical Data Solutions Limited | Ortho Connect Model: 3.0; 6904413; 6904414; 6904415; 6913355; 6904410; 6904411; 6904412; 6993333; 6900534 SW-Version: 3.0  | IVD: Laboratory instrument/analyser application software IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_24/documents/3)  | Vk\_20220505\_24  |
| 17.05.2022  | Breas Medical AB | Ventilator Trolley Model: 007384 for the Vivo 55/65, Vivo 45/45 LS, Vivo 1-2-3 and NIPPY models Lot: Units delivered between 11 June 2020 and 03 December 2021  | MD: Various Instruments For Anaesthesia And Pulmonary Ventilation Support | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220131_35/documents/2)  | Vk\_20220131\_35  |
| 17.03.2021 (Updated 17.05.2022)  | Siemens Healthcare Diagnostics Inc | ADVIA 2120/2120i Hematology System Model: See FSN S/N: See FSN SW-Version: 6.10 and 6.11  | IVD: Haematological cell analyser IVD, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/3) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/4) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210309_17/documents/5)  | Vk\_20210309\_17  |
| 04.05.2022 (Updated 16.05.2022)  | Siemens Healthcare Diagnostics Products GmbH | INNOVANCE D-Dimer Controls Model: SMN 10446005 Lot: All lots in shelf-life up to: INNOVANCE D-Dimer Control 1 lot 562293, INNOVANCE D-Dimer Control 2 lot 562193  | IVD: D-dimer IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_17/documents/2)  | Vk\_20220502\_17  |
| 03.05.2022 (Updated 13.05.2022)  | Cook Incorporated | Hilal, Nester & Tornado Embolization Microcoil Model: see FSN Lot: see FSN  | MD: Non-neurovascular embolization coil | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_02/documents/3)  | Vk\_20220502\_02  |
| 12.05.2022  | Medtronic BV | HeartWare Ventricular Assist System, HeartWare Battery Model: 1650DE S/N: BAT934983, BAT934984, BAT934986, BAT934992  | AIMD: Implantable ventricular circulatory assist system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_23/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_23/documents/1)  | Vk\_20220505\_23  |
| 11.05.2022  | Covidien LLC | Argyle Fistula Cannulas with Anti-Reflux Valve Model: 1530VSVS Lot: 20H0392, 20K0391 S/N: N/A  | MD: Haemodialysis needle | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220505_20/documents/0)  | Vk\_20220505\_20  |
| 10.05.2022  | Becton Dickinson Biosciences | BD Anti-Kappa (TB28-2) APC Model: 341108 Lot: 1064659 BD Anti-Kappa (TB28-2) PE Model: 347246 Lot: 1153851, 1284407 BD OneFlow LST Model: 658619 Lot: 1071401, 1160783, 1180261, 1258383 BD OneFlow PCST Model: 659912 Lot: 1266231, 1316879  | IVD: Kappa/lambda light chain immunoglobulin IVD, antibodyIVD: Kappa/lambda light chain immunoglobulin IVD, antibodyIVD: Multiple mature lymphocyte cell marker IVD, kit, fluorescent activated cell sorting/flow cytometry (FACS/Flow)IVD: Multiple mature lymphocyte cell marker IVD, kit, fluorescent activated cell sorting/flow cytometry (FACS/Flow) | [DE-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/0) [DE-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/1) [IT-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/2) [IT-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/3) [EN-1-AntiKappa](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/4) [EN-1-OneFlow](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220504_15/documents/5)  | Vk\_20220504\_15  |
| 03.05.2022 (Updated 09.05.2022)  | DiaSys Diagnostic Systems GmbH | HDL-c direct FS Model: 1 3561  | IVD: High Density Lipoprotein Cholesterol | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220427_43/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220427_43/documents/1)  | Vk\_20220427\_43  |
| 20.04.2022 (Updated 06.05.2022)  | RaySearch Laboratories AB (publ) | RayCare SW-Version: 5.0.0.60390, 5.0.1.60052 or 5.1.0.61073  | MD: Radiology information system application software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_17/documents/3)  | Vk\_20220412\_17  |
| 27.04.2022 (Updated 05.05.2022)  | DiaMed GmbH | IH-QC 3 Model: 08730; 009323 Lot: 08730 72 1 (SAP 709953721)  | IVD: Multiple immunohaematology test IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/0) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_01/documents/2)  | Vk\_20220425\_01  |
| 26.04.2022 (Updated 05.05.2022)  | Ortho Clinical Diagnostics | ORTHO VISION Analyzer Model: 6904579 Lot: Not Applicable S/N: Not Applicable SW-Version: 5.13.4 and below ORTHO VISION Max Analyzer Model: 6904578 Lot: Not Applicable S/N: Not Applicable SW-Version: 5.13.4 and below  | IVD: Blood group/antibody screening analyser IVD, automatedIVD: Blood group/antibody screening analyser IVD, automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220422_26/documents/3)  | Vk\_20220422\_26  |
| 04.05.2022  | HeartWare Inc. | HeartWare Ventricular Assist System Model: MCS1705PU, 1104 S/N: All  | AIMD: Implantable ventricular circulatory assist system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/2) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220426_39/documents/3)  | Vk\_20220426\_39  |
| 19.04.2022 (Updated 04.05.2022)  | Medtronic Inc. | CareLink SmartSync Device Manager Model: D00U005 S/N: All Cobalt Model: DVPA2D1, DVPA2D4, DVPB3D1, DVPB3D4, DDPA2D1, DDPA2D4, DDPB3D1, DDPB3D4, DTPA2D4, DTPA2D1, DTPB2D4, DTPB2D1, DTPA2QQ, DTPA2Q1, DTPB2QQ, DTPB2Q1 S/N: All Crome Model: DVPC3D1, DVPC3D4, DDPC3D1, DDPC3D4, DTPC2D4, DTPC2D1, DTPC2QQ, DTPC2Q1 S/N: All  | AIMD: Cardiac pulse generator programmerAIMD: Cardiac resynchronization therapy implantable defibrillatorAIMD: Cardiac resynchronization therapy implantable defibrillator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_14/documents/3)  | Vk\_20220412\_14  |
| 03.05.2022  | ConMed Corp | Universal Plus Laparoscopic Electrodes Model: 60-5272-027; 60-5272-032; 60-5272-127; 60-5272-132; 60-5272-227; 60-5272-232; 60-5272-927; 60-5272-932; 60-5274-027; 60-5274-032; 60-5274-044; 60-5274-127; , 60-5274-132; 60-5274-144; 60-5274-227; 60-5274-232; , 60-5274-244; 60-5274-932; 60-5274-944 Lot: 20190801X- 20211031X SW-Version: None  | MD: Endoscopic electrosurgical electrode, monopolar, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220502_01/documents/3)  | Vk\_20220502\_01  |
| 26.04.2022 (Updated 03.05.2022)  | MicroVention Europe S.A.R.L. | Casper Carotid Artery Stent Model: CPR-0830-143RX Lot: 2104225AH  | MD: Bare-metal carotid artery stent | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/0) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_39/documents/2)  | Vk\_20220425\_39  |
| 11.08.2021 (Updated 03.05.2022)  | Philips Medical Systems DMC GmbH | CombiDiagnost R90 R1.1, Upgrades for CombiDiagnost R90 Model: 709031 and 709130 SW-Version: R1.1.1 / R1.1.2  | MD: Radiographic/fluoroscopic unit, mobile | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210809_07/documents/3)  | Vk\_20210809\_07  |
| 02.05.2022  | Seegene Inc. | Allplex SARS-CoV-2 Variants II Assay Model: RV10305X SW-Version: Seegene Viewer for Real time Instruments V3.26.001  | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT) | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220429_10/documents/0)  | Vk\_20220429\_10  |
| 02.05.2022  | Avanos Medical, lnc. | CORTRAK 2 Enteral Access System (EAS) Model: 20-0950; P20-0950 S/N: All  | MD: Enteral tube tracking system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_13/documents/3)  | Vk\_20220414\_13  |
| 25.03.2022 (Updated 02.05.2022)  | Instrumentation Laboratory Co. | HemosIL ReadiPlasTin Model: 00020301400 Lot: ALL SW-Version: NOT APPLICABLE  | IVD: Prothrombin time (PT) IVD, kit, clotting | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/1) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/2) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220318_04/documents/3)  | Vk\_20220318\_04  |
| 29.04.2022  | Maquet Critical Care AB | Flow-c Model: 6887700 Flow-e Model: 6887900  | MD: Anaesthesia workstation, general-purposeMD: Anaesthesia workstation, general-purpose | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_05/documents/3)  | Vk\_20220413\_05  |
| 26.04.2022 (Updated 28.04.2022)  | Mölnlycke Health Care AB | Mölnlycke Procedure Trays containing SOL-M Blunt Fill Needle Model: see FSN  | MD: various surgical procedure kits | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_38/documents/2)  | Vk\_20220425\_38  |
| 20.04.2022 (Updated 28.04.2022)  | Life Technologies Corporation, a part of Thermo Fisher Scientific | Amplitude Platform with TaqPath COVID-19 HAT Kit Model: A50883  | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_17/documents/3)  | Vk\_20220420\_17  |
| 27.04.2022  | B. Braun Surgical S. A. | Monoplus Violett Model: C0024436 Lot: 121464  | MD: Polyester suture, bioabsorbable, monofilament, non-antimicrobial | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220425_40/documents/0)  | Vk\_20220425\_40  |
| 27.04.2022  | Medtronic Inc. | Cardioblate IRF Surgical Ablation Device Model: 49260; 49351 Lot: all lots  | MD: Cardiac radio-frequency ablation system generator | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_24/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220420_24/documents/1)  | Vk\_20220420\_24  |
| 23.12.2020 (Updated 27.04.2022)  | DiaMed GmbH | ID-DiaCell; ID-Dia Screen; ID-Dia Panel Model: see FSN Lot: All lot currently in date  | IVD: reagent red blood cell | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20201217_09/documents/7)  | Vk\_20201217\_09  |
| 19.04.2022 (Updated 21.04.2022)  | Teleflex Medical SND BHD | Smooth-Flo Flex Model: 22552 Lot: see FSN Gibeck Humid-Vent 2S Flex DC Model: 17731; 17732 Lot: see FSN Gibeck Humid-Vent Filter Compact S with Flex Tube Model: 19812 Lot: see FSN Flex Tube Model: 20011 Lot: see FSN Gibeck Humid-Vent Filter Compact S with Smooth-Flo / Swivel Model: 19061; 19062 Lot: see FSN Smooth-Flo Flex with Double Swivel Model: 22511; 22512 Lot: see FSN  | MD: Heat/moisture exchanger/microbial medical gas filterMD: Heat/moisture exchanger, single-useMD: Heat/moisture exchanger, single-useMD: Breathing circuit catheter mount, single-useMD: Heat/moisture exchanger, single-useMD: Heat/moisture exchanger/microbial medical gas filter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_09/documents/3)  | Vk\_20220413\_09  |
| 25.03.2022 (Updated 21.04.2022)  | Abbott Medical | MERLIN & MERLIN 2 PATIENT CARE SYSTEM (PCS) Model: 3650, MER3700 SW-Version: 3650: Software model 3330 v25.0.X - v25.3.X, MER3700: Software model MER3400 v1.1.X - v1.3.X, used with Gallant, Neutrino NxT, Entrant devices  | AIMD: Cardiac pulse generator software | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_14/documents/7)  | Vk\_20220315\_14  |
| 20.04.2022  | Waters Corporation | Xevo TQ-S Model: 186005453IVD S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN Xevo TQD Model: 186005833IVD S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN Xevo TQ-S Micro Model: 186007833IVD S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN Xevo TQ-XS Model: 186008453IVD S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN NeoLynx Model: 667005682IVD, 667002653 S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN IonLynx Model: 667005757IVD S/N: W2KAR7008M, W3KAR7012M, W8ENR7001M, W8ENR7002M SW-Version: See FSN  | IVD: Mass spectrometry analyser IVD, semi-automatedIVD: Mass spectrometry analyser IVD, semi-automatedIVD: Mass spectrometry analyser IVD, semi-automatedIVD: Mass spectrometry analyser IVD, semi-automatedIVD: Mass spectrometry analyser IVD, semi-automatedIVD: Mass spectrometry analyser IVD, semi-automated | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_01/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_01/documents/1)  | Vk\_20220414\_01  |
| 20.04.2022  | Weinmann Emergency Medical Technology GmbH + Co. KG | Li-Ion battery for ACCUVAC Pro Model: WM 11603 S/N: Devices affected are: shipped in the period 2021-11-10 to 2021-12-21, Art.: 70433001 and Art.: 70439801  | MD: Suction system, emergency | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220413_18/documents/2)  | Vk\_20220413\_18  |
| 20.04.2022  | Radiometer Medical ApS | PICO50 Arterial Blood Sampler Model: 956-552; 956-552 Lot: All batches manufactured from 29Mar2020-29Mar2022.  | IVD: Blood gas syringe IVD, sodium heparin | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_16/documents/2)  | Vk\_20220408\_16  |
| 13.04.2022 (Updated 20.04.2022)  | Karl Storz SE und Co. KG | Rhino-Laryngo-Fiberscope Model: 11001RD1; 11001UD1; 11001UDK1 S/N: All Broncho-Fiberscope Model: 11003BC1; 11005BC1; 11005BCK1 S/N: All Cysto-Urethro-Fiberscope Model: 11272CU1; 11272CUK1; 11278ACU1; 11278ACUK1; 11272C1; 11272CK1; 11278AC1; 11278ACK1; 11272CI1; 11272CIK1; 11272CIU1; 11272CIUK1 S/N: All CMOS Video Cysto-Urethroscope Model: 11272V; 11272VK; 11272VU; 11272VUK S/N: All Uretero-Reno-Fiberscope FLEX-X2S Model: 11278AU1; 11278AUK1; 11278A1; 11278AK1 S/N: All Choledocho-Fiberscope Model: 11292AD1; 11292ADK1; 11292ADU1; 11292ADUK1; 11292DE1; 11292DEK1; 11292BD1; 11292BDK1 S/N: All Uretero-Fiberscope Model: 11274AA1; 11274AAK1; 11274AAU1; 11274AAUK1; 11278AI1; 11278AIK1; 11278AIU1; 11278AIUK1 S/N: All  | MD: Flexible fibreoptic nasopharyngolaryngoscopeMD: Flexible fibreoptic bronchoscopeMD: Flexible fibreoptic cystourethroscopeMD: Flexible video cystoscope, reusableMD: Flexible fibreoptic ureterorenoscopeMD: Flexible fibreoptic choledochoscopeMD: Flexible fibreoptic ureterorenoscope | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_01/documents/3)  | Vk\_20220407\_01  |
| 19.04.2022  | Siemens Healthcare GmbH | Sensis Model: 10764561 SW-Version: VC12M Sensis Lite Model: 10764562 SW-Version: VC12M AXIOM Sensis XP Model: 6623974, 6634633, 6634641, 6634658 SW-Version: VC12M  | MD: Cardiac catheterization laboratory computerMD: Cardiac catheterization laboratory computerMD: Cardiac catheterization laboratory computer | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_16/documents/2)  | Vk\_20220414\_16  |
| 19.04.2022  | GE Medical Systems Information Technologies, Inc. | Carescape Central Station SW-Version: 2.0.x  | MD: Centralized patient monitor | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_09/documents/3)  | Vk\_20220414\_09  |
| 19.04.2022  | Siemens Healthcare Diagnostics Inc | Atellica IM 1300 Model: SMN 11066001 Atellica IM 1600 Model: SMN 11066000  | IVD: Chemiluminescent immunoassay analyser IVD, automatedIVD: Chemiluminescent immunoassay analyser IVD, automated | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220414_08/documents/0)  | Vk\_20220414\_08  |
| 19.04.2022  | Si Us Instruments GmbH | Jameson preparation scissors curved (single-use) Model: SUBBC1777 Lot: 1010215286  | MD: Dissection scissors | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_23/documents/0)  | Vk\_20220412\_23  |
| 19.04.2022  | Siemens Healthcare GmbH | ARTIS icono biplane Model: 11327600 ARTIS icono floor Model: 11327700  | MD: Stationary angiographic x-ray system, digitalMD: Stationary angiographic x-ray system, digital | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_30/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_30/documents/1)  | Vk\_20220411\_30  |
| 12.04.2022 (Updated 19.04.2022)  | Abbott Medical | Dragonfly OpStar Imaging Catheter Model: 1014651, 1014652 Lot: See fsn  | MD: Coronary optical coherence tomography system catheter | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220411_14/documents/3)  | Vk\_20220411\_14  |
| 19.04.2022  | Arrow International Inc | Arrow - Kits and Sets with Introducer Needles Model: Arrow - Kits and Sets with Introducer Needles  | MD: Surgical instrument guard, single-use, sterile | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210609_20/documents/3)  | Vk\_20210609\_20  |
| 14.04.2022  | Synovis Life Technologies, Inc. (a subsidiary of Baxter International Inc.) | Flo-Thru Intraluminal Shunt Model: FT12150 Lot: SP21J21-1584173; SP21J211584173  | MD: Surgical intravascular shunt | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_13/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220408_13/documents/1)  | Vk\_20220408\_13  |
| 14.04.2022  | Breas Medical AB | Vivo 45, Vivo 45LS, Nippy 4, Nippy 4+ Model: 220000, 230000, 226000, 231000 Lot: Devices delivered prior to 2022-03-31: Vivo 45 with firmware version 1.1.4 or earlier, Vivo 45LS firmware version 3.1.4 or earlier, NIPPY 4: firmware version 2.1.4 or earlier, NIPPY 4+: firmware version 4.1.4 or earlier S/N: Y\*\*\*\*\*\*, D\*\*\*\*\*\*, K\*\*\*\*\*\*\*, M01\*\*\*\* - M1403\*\* SW-Version: 1.1.4 / 2.1.4 / 3.1.4 / 4.1.4 or earlier  | MD: Pulmonary Ventilators For Non¿hospital Use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_22/documents/2)  | Vk\_20220406\_22  |
| 14.04.2022  | Sirona Dental Systems GmbH | TENEO Model: 6364157  | MD: Dental delivery unit | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_12/documents/2)  | Vk\_20220406\_12  |
| 14.04.2022  | OSATU, S. COOP Edificio Zearrekobuelta | REANIBEX 300 Model: REANIBEX 300 S/N: See FSN REANIBEX500 Model: REANIBEX 500 S/N: See FSN  | MD: Non-rechargeable public semi-automated external defibrillatorMD: Physiologic-monitoring defibrillation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_11/documents/3)  | Vk\_20220406\_11  |
| 13.04.2022  | Von Daniels GmbH | Mask 3.0 Model: 150500/099, 150500/790 Lot: HD 00013508, HD 00013509  | MD: Mask, surgical | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220412_22/documents/0)  | Vk\_20220412\_22  |
| 13.04.2022  | Phadia AB | Phadia 200, Fluorescent immunoassay analyser IVD, laboratory Model: 12-4300-00 S/N: All serial numbers  | IVD: Fluorescent immunoassay analyser IVD, laboratory, automated | [DE-1\_Customer\_Reply](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/0) [FR-1\_Customer\_Reply](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220407_11/documents/2)  | Vk\_20220407\_11  |
| 12.04.2022 (Updated 13.04.2022)  | Pulsion Medical Systems SE | NICCI Model: PC6500, PC6510, PV6550, PV6551, PV6552, PC6530, PC6531, PC6532, PC6533, PC6534  | MD: Patient monitoring system module, blood pressure, noninvasive | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_20/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_20/documents/1)  | Vk\_20220406\_20  |
| 13.04.2022  | Bio Optica Milano S.p.A. | Schiff reagent Hotchkiss McManus Model: 05-M20001 Lot: 52211  | IVD: Schiff reagent Hotchkiss McManus | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220406_13/documents/0)  | Vk\_20220406\_13  |
| 13.04.2022  | Vygon GmbH & Co. KG | peelable cannula, microflash Model: see FSN Lot: see FSN  | MD: Vascular catheter introduction needle | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_14/documents/0)  | Vk\_20220331\_14  |
| 29.03.2022 (Updated 13.04.2022)  | ACUTRONIC Medical Systems AG | fabian HFOi Ventilator Model: 113001 SW-Version: older than 5.2.1  | MD: Neonatal intensive-care ventilator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220329_08/documents/3)  | Vk\_20220329\_08  |
| 06.09.2021 (Updated 12.04.2022)  | Abbott Molecular Inc. | Alinity m SARS-CoV-2 Amplification Reagent Kit Model: 09N78-090 and 09N78-091 Alinity m Resp-4-Plex Amplification Reagent Kit Model: 09N79-090  | IVD: SARS-CoV-2 nucleic acid IVD, kit, nucleic acid technique (NAT)IVD: Multiple respiratory virus nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/3) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/4) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20210906_01/documents/5)  | Vk\_20210906\_01  |
| 05.04.2022 (Updated 11.04.2022)  | Sol-Millennium Medical, Inc. | SOL-M Blunt Fill Needle Model: 110021, 110022, BN1815 Lot: See FSN  | MD: Medication transfer needle, non-filtering/non-vented | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_18/documents/3)  | Vk\_20220404\_18  |
| 11.04.2022  | Merit Medical Systems, Inc. | Access-9 and AccessPLUS Hemostasis Valves Model: See attached FSN enclosure Lot: See attached FSN enclosure  | MD: Haemostasis valve | [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_04/documents/0) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_04/documents/1)  | Vk\_20220322\_04  |
| 05.04.2022 (Updated 08.04.2022)  | Abbott Molecular Inc. | Alinity m CMV Amplification Reagent kit Model: 09N46-090 Lot: All  | IVD: Cytomegalovirus (CMV) nucleic acid IVD, kit, nucleic acid technique (NAT) | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_25/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_25/documents/1)  | Vk\_20220404\_25  |
| 08.04.2022  | Randox Laboratories Ltd | CK-MB Calibrator Model: CK2393 Lot: 4410CK  | IVD: Creatine kinase myocardial isoenzyme (CKMB) IVD, calibrator | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_19/documents/3)  | Vk\_20220404\_19  |
| 08.04.2022  | SPINEART SA | SECURED LORDOTIC ANTERIOR CERVICAL CAGE / SMALL Model: SCA-AC LS 06-S Lot: 5-9556  | MD: Metallic spinal interbody fusion cage | [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_01/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_01/documents/1)  | Vk\_20220404\_01  |
| 05.04.2022 (Updated 07.04.2022)  | Medtronic Inc. | Percept PC BrainSense Model: B35200 S/N: All  | AIMD: Deep brain electrical stimulation system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_16/documents/2)  | Vk\_20220331\_16  |
| 07.04.2022  | Intuitive Surgical, Inc | SureForm 45, SureForm 45 Curved-Tip, SureForm 60 Model: 480445, 480545, 480460 Lot: All lots  | MD: Robotic surgical cutting stapler, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220330_10/documents/2)  | Vk\_20220330\_10  |
| 30.03.2022 (Updated 07.04.2022)  | SENTINEL CH SpA | Copper Model: 17638H; 17106 Lot: 00273, 00818, 10323, 10656; 00010, 10033, 10310, 10657 S/N: N/A SW-Version: N/A Clin Chem Control Model: 16150; 16250 Lot: 00234, 00245, 00612, 10022, 10406, 11103; 00317, 00843, 10089, 10899, 20187 S/N: N/A SW-Version: N/A  | IVD: CopperIVD: Multiple-type clinical chemistry analyte profile IVD, control | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220323_17/documents/3)  | Vk\_20220323\_17  |
| 28.10.2021 (Updated 07.04.2022)  | GE Medical Systems, LLC | Revolution CT Model: See FSN S/N: See FSN  | MD: Full-body CT system | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/0) [DE-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/1) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/2) [FR-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/3) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/4) [IT-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/5) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/6) [EN-2](https://fsca.swissmedic.ch/mep/api/publications/Vk_20211025_02/documents/7)  | Vk\_20211025\_02  |
| 06.04.2022  | ArjoHuntleigh AB | Sara Plus Model: HEP0001, HEP2001; N/A Lot: N/A S/N: P0653395 SW-Version: N/A  | MD: Mobile patient lifting system, electrically-powered | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220328_18/documents/0)  | Vk\_20220328\_18  |
| 05.04.2022  | Abbott Molecular Inc. | Alinity m EBV Amplification Reagent Kit Model: 09N43-090 Lot: All  | IVD: Epstein-Barr virus (EBV) nucleic acid IVD, kit, nucleic acid technique (NAT) | [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220404_24/documents/0)  | Vk\_20220404\_24  |
| 05.04.2022  | GE Medical Systems LLC, GE Healthcare Tianjin Company Limited, GE Healthcare (China) Co., Ltd. | Brivo MRI System Model: See FSN Optima MRI System Model: See FSN Signa MR/i MR System Model: See FSN OrthOne MRI System Model: See FSN MSK Extreme MRI System Model: See FSN Discovery MRI System Model: See FSN MR Max MRI System Model: See FSN MR Vectra MRI System Model: See FSN SmartSpeed MRI System Model: See FSN EchoSpeed MRI System Model: See FSN HighSpeed Plus MRI System Model: See FSN  | MD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: MRI system, superconducting magnetMD: MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnetMD: Full-body MRI system, superconducting magnet | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220401_16/documents/3)  | Vk\_20220401\_16  |
| 05.04.2022  | Medtronic Inc. | Vanta with AdaptiveStim Technology Primary cell neurostimulator Model: 977006 S/N: All  | AIMD: Spinal cord/peripheral nerve implantable analgesic electrical stimulation system pulse generator, implantable | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_20/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220331_20/documents/1)  | Vk\_20220331\_20  |
| 16.03.2022 (Updated 05.04.2022)  | Philips Medical Systems Nederland BV | Philips Azurion system Model: 722063, 722064, 722065, 722066, 722067, 722068, 722078, 722079; NA SW-Version: Philips Azurion R1.x  | MD: Stationary general-purpose fluoroscopic x-ray system, analogue | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220310_29/documents/2)  | Vk\_20220310\_29  |
| 05.04.2022  | Maquet Critical Care AB | Advanta V12 Covered Stent System Model: see FSN Lot: All SW-Version: NA  | MD: Iliofemoral artery endovascular stent-graft | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220308_04/documents/2)  | Vk\_20220308\_04  |
| 30.03.2022 (Updated 04.04.2022)  | Abbott GmbH | Alinity i Homocysteine Reagent Kit Model: 09P28-20 Lot: 11406UP00, 11453UP00, 11466UP00, 11486UP00, 11485UP00  | IVD: Homocysteine IVD, kit, chemiluminescent immunoassay | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/0) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220325_31/documents/2)  | Vk\_20220325\_31  |
| 31.03.2022 (Updated 04.04.2022)  | Baxter Healthcare SA | PRISMAX V3 Control Unit-Row Model: 955725 PrisMax, V2 ROW Model: 955558  | MD: Haemodialysis system, institutionalMD: Haemodialysis system, institutional | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_05/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_05/documents/1)  | Vk\_20220322\_05  |
| 04.04.2022  | Fin-Ceramica Faenza SpA | MaioRegen  | MD: Orthopaedic surgical procedure kit, non-medicated, reusable | [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_13/documents/0) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220321_13/documents/1)  | Vk\_20220321\_13  |
| 01.04.2022  | Bruker Daltonik GmbH | Mueller-Hinton Broth, cation-adjusted Model: E2-331-020; E2-331-100 Lot: See FSN  | IVD: BCYE Legionella species agar culture medium IVD | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/2) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220324_28/documents/3)  | Vk\_20220324\_28  |
| 30.03.2022 (Updated 01.04.2022)  | Bio-Rad Medical Diagnostics GmbH | Anti-Lua (LU1) Model: 808216 Lot: 3113160-00 SW-Version: n/a  | IVD: Anti-Lu^a red blood cell grouping IVD, antibody | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/1) [EN-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220322_12/documents/2)  | Vk\_20220322\_12  |
| 01.04.2022  | Olympus Medical Systems Corp. | DISPOSABLE GRASPING FORCEPS Model: FG-51D, FG-55D Lot: all  | MD: Gastrointestinal/airway foreign body retrieval basket, single-use | [DE-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/0) [FR-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/1) [IT-1](https://fsca.swissmedic.ch/mep/api/publications/Vk_20220315_15/documents/2)  | Vk\_20220315\_15  |