**Інформація, отримана з іноземних систем повідомлення про продукцію, що становить серйозний ризик, за період 01.04.2024 – 30.06.2024**

**Німеччина**

[**https://www.bfarm.de/EN/Medical-devices/Tasks/Risk-assessment-and-research/Field-corrective-actions/\_node.html**](https://www.bfarm.de/EN/Medical-devices/Tasks/Risk-assessment-and-research/Field-corrective-actions/_node.html)

### https://www.bfarm.de/SharedDocs/Kundeninfos/DE/10/2022/29316-21\_kundeninfo\_de.pdf?\_\_blob=publicationFile

|  |  |
| --- | --- |
| 28.06.2024 | [Urgent Field Safety Notice for Pflegebett Ecofit/Ecofit S by tecfor care GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/11838-24_kundeninfo_en.html?nn=708434)  **Product group** General equipment for medical treatment - furnishings  **Reference** 11838/24 |
| 28.06.2024 | [Urgent Field Safety Notice for Pflegebett Ecofit/Ecofit S by tecfor care GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/11839-24_kundeninfo_en.html?nn=708434)  **Product group** General equipment for medical treatment - furnishings  **Reference** 11839/24 |
| 28.06.2024 | [Urgent Field Safety Notice for SYNCHRO Guidewires by Stryker Neurovascular-Caliifornia](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/18431-24_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - catheters  **Reference** 18431/24 |
| 28.06.2024 | [Urgent Field Safety Notice for NADAL Troponin I Test by nal von minden GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/20711-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - immunological products  **Reference** 20711/24 |
| 28.06.2024 | [Urgent Field Safety Notice for Luminos Agile/dRF/Lotus Max, Multitom Rax by Siemens Healthcare GmbH, X-Ray Products (XP)](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/20505-24_kundeninfo_en.html?nn=708434)  **Product group** Radiological technology - stationary radiological equipment  **Reference** 20505/24 |
| 28.06.2024 | [Urgent Field Safety Notice for STARKLING / Starkling Anesthesia by Starkling e.K.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/20347-24_kundeninfo_en.html?nn=708434)  **Product group** Optics / Precision engineering - medical microscopes (does not incude laboratory microscopes)  **Reference** 20347/24 |
| 28.06.2024 | [Urgent Field Safety Notice for IMMULITE/IMMULITE 1000 TNF -alfa by Siemens Healthcare Diagnostics Products Ltd.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/20596-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - immunological products  **Reference** 20596/24 |
| 27.06.2024 | [Urgent Field Safety Notice for DISCOVERY HUMERAL STEMS by LIMACORPORATE S.P.A.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/18645-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - bone surgery  **Reference** 18645/24 |
| 27.06.2024 | [Urgent Field Safety Notice for ILED 7 CEILING SINGLE ILED 7 MOBILE ILED 7 PENDANT by Baxter Medical Systems GmbH + Co. KG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/20027-24_kundeninfo_en.html?nn=708434)  **Product group** Surgical equipment/ Anaesthesia - surgical equipment  **Reference** 20027/24 |
| 27.06.2024 | [Urgent Field Safety Notice for Transystem / Specimen collection device 900-0370 by Copan Italia S.p.A.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/20416-24_kundeninfo_en.html?nn=708434)  **Product group** General equipment for medical treatment - auxiliary equipment  **Reference** 20416/24 |
| 27.06.2024 | [Urgent Field Safety Notice for Silverline 6F ventricular drainage catheter by Spiegelberg GmbH & Co. KG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/35137-23_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - special implants  **Reference** 35137/23 |
| 25.06.2024 | [Urgent Field Safety Notice for CARDIOVIT AT-180 by Schiller AG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/16702-24_kundeninfo_en.html?nn=708434)  **Product group** Medical electronics / Electromedical devices - electrodiagnostics  **Reference** 16702/24 |
| 25.06.2024 | [Urgent Field Safety Notice for Medilift XL by Ondal Medical Systems GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/18927-24_kundeninfo_en.html?nn=708434)  **Product group** Surgical equipment/ Anaesthesia - surgical equipment  **Reference** 18927/24 |
| 25.06.2024 | [Urgent Field Safety Notice for Cholesterol by Thermo Fisher Scientific Oy](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/18178-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 18178/24 |
| 25.06.2024 | [Urgent Field Safety Notice for Juvelook by VAIM Co., Ltd.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/17789-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - materials for implants  **Reference** 17789/24 |
| 25.06.2024 | [Urgent Field Safety Notice for Piccolo General Chemistry 13 by Abaxis Inc.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/19867-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 19867/24 |
| 25.06.2024 | [Urgent Field Safety Notice for SmartPAN by Magle Chemoswed](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/20295-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - special implants  **Reference** 20295/24 |
| 24.06.2024 | [Urgent Field Safety Notice for Electrosurgical generator "ESG-410" by Olympus Winter & Ibe GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/19882-24_kundeninfo_en.html?nn=708434)  **Product group** Medical electronics / Electromedical devices - electrotherapy  **Reference** 19882/24 |
| 21.06.2024 | [Urgent Field Safety Notice for Rythmic Ultima by MICREL MEDICAL DEVICES SA](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/18372-24_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology  **Reference** 18372/24 |
| 20.06.2024 | [Urgent Field Safety Notice for HD Lightweight Pendulum Camera Head by Olympus Medical Systems Corp.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/18755-24_kundeninfo_en.html?nn=708434)  **Product group** Optics / Precision engineering - endoscopes  **Reference** 18755/24 |
| 20.06.2024 | [Urgent Field Safety Notice for BeneHeart C-Serie by Shenzhen Mindray Bio-Medical Electronics Co. Ltd](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/18518-24_kundeninfo_en.html?nn=708434)  **Product group** Medical electronics / Electromedical devices - electrotherapy  **Reference** 18518/24 |
| 20.06.2024 | [Urgent Field Safety Notice for EIT Cellular Titanium TLIF & PLIF Cages by EIT Emerging Implant Technologies GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/14867-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - bone surgery  **Reference** 14867/24 |
| 20.06.2024 | [Urgent Field Safety Notice for VITROS Chemistry Products FS Diluent Pack 3 by QuidelOrtho (Ortho Clinical Diagnostics Inc)](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/17753-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 17753/24 |
| 20.06.2024 | [Urgent Field Safety Notice for Radiometer ABL800 FLEX by Radiometer Medical ApS](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/17474-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 17474/24 |
| 20.06.2024 | [Urgent Field Safety Notice for QIAcube Connect MDx by QIAGEN GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16184-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 16184/24 |
| 20.06.2024 | [Urgent Field Safety Notice for Irrigation Handle by Beaver Visitec International, Inc.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/13/2024/05281-24_kundeninfo_en.html?nn=708434)  **Product group** ophthalmological technology - equipment for ophthalmological therapeutics  **Reference** 05281/24 |
| 19.06.2024 | [Urgent Field Safety Notice for Spectra Optia IDL Set by Terumo BCT, Inc](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/18158-24_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - equipment for collecting blood products and peripheral stem cells  **Reference** 18158/24 |
| 19.06.2024 | [Urgent Field Safety Notice for WSI MX/PX-Titan Expertise (Integration)/Zementieradapter mit S.ößel XL, WSI MX/PX-TITAN Integration by PETER BREHM GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/18592-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - bone surgery  **Reference** 18592/24 |
| 18.06.2024 | [Urgent Field Safety Notice for Avalon US Transducer by Philips Medizin Systeme Böblingen GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/17213-24_kundeninfo_en.html?nn=708434)  **Product group** Ultrasonics - ultrasonic diagnostic equipment  **Reference** 17213/24 |
| 18.06.2024 | [Urgent Field Safety Notice for BritePro Solo Single Use Fibre Optic Laryngoscope by Flexicare Medical Limited](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/16636-24_kundeninfo_en.html?nn=708434)  **Product group** Optics / Precision engineering - medical microscopes (does not incude laboratory microscopes)  **Reference** 16636/24 |
| 18.06.2024 | [Urgent Field Safety Notice for CALiaGold pierceTube by SENTINEL CH. SpA](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/19272-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - immunological products  **Reference** 19272/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Adapter by j.söllner AG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/17856-24_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - infusion kits  **Reference** 17856/24 |
| 17.06.2024 | [Urgent Field Safety Notice for BIOFIRE FILMARRAY TORCH by BioFire Diagnostics, LLC](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16200-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 16200/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Philips Hemodynamic system. by Philips Medical Systems Nederland B.V.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/14035-24_kundeninfo_en.html?nn=708434)  **Product group** Medical electronics / Electromedical devices - electrodiagnostics  **Reference** 14035/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Kangaroo Enteral Feeding No.-Sterile Pump Sets by Covidien llc](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/34916-23_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology  **Reference** 34916/23 |
| 17.06.2024 | [Urgent Field Safety Notice for Multiva 1.5T 8 R5, Multiva 1.5T 16, R5 Multiva 1.5 by Philips Healthcare (Suzhou) Co.,Ltd](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/17828-24_kundeninfo_en.html?nn=708434)  **Product group** Electromedical fields - equipment for MR tomography  **Reference** 17828/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Blue Ventilator Adapter Module (MODULE, OPTIMUS HA) by HILL-ROM SERVICES PRIVATE LIMITED](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/16/2024/18332-24_kundeninfo_en.html?nn=708434)  **Product group** Physical therapy - inhalation therapy  **Reference** 18332/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Advanta VXT and Flixene Vascular Graft by Maquet Cardiovascular](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/17122-24_kundeninfo_en.html?nn=708434)  **Product group** Non-active implants - special implants  **Reference** 17122/24 |
| 17.06.2024 | [Urgent Field Safety Notice for MY YpsoPump Orbitmicro 2.0 by Ypsomed AG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/18349-24_kundeninfo_en.html?nn=708434)  **Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology  **Reference** 18349/24 |
| 17.06.2024 | [Urgent Field Safety Notice for Leoni plus HFO / Leoni plus Transport by Löwenstein Medical GmbH & Co. KG](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/17491-24_kundeninfo_en.html?nn=708434)  **Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply  **Reference** 17491/24 |
| 14.06.2024 | [Urgent Field Safety Notice for IH-1000 Analyzer by Bio-Rad Laboratories, DiaMed GmbH](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/02445-23_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - haematological, histological and cytological products  **Reference** 02445/23 |
| 14.06.2024 | [Urgent Field Safety Notice for Bivona Neonatal/Pediatric and Adult Tracheostomy Tube by Smiths Medical ASD, lnc.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/18552-24_kundeninfo_en.html?nn=708434)  **Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply  **Reference** 18552/24 |
| 14.06.2024 | [Urgent Field Safety Notice for DxI 9000 Access Immunoassay Analyzer by Beckman Coulter Inc.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16954-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 16954/24 |
| 14.06.2024 | [Urgent Field Safety Notice for DxI 9000 Access Immunoassay Analyzer by Beckman Coulter Inc.](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/17126-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - equipment / products for clinical chemistry  **Reference** 17126/24 |
| 14.06.2024 | [Urgent Field Safety Notice for Ascenda Intrathecal Catheter by Medtronic Inc](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/15426-24_kundeninfo_en.html?nn=708434)  **Product group** Active implantable medical devices - drug pumps  **Reference** 15426/24 |
| 14.06.2024 | [Urgent Field Safety Notice for Afinion 2 by Abbott Diagnostics Technologies AS](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16865-24_kundeninfo_en.html?nn=708434)  **Product group** In-vitro diagnostics - haematological, histological and cytological products  **Reference** 16865/24 |

### [Urgent Field Safety Notice for Hintermann Series H3 Total Ankle Replacement System by DT MedTech LLCPDF, 504KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/09281-24_kundeninfo_en.pdf?__blob=publicationFile) 14. June 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 09281/24

### [Urgent Field Safety Notice for NexGen CR-Flex porous or NexGen CR-Flex Fiber Metal Mesh Femur by Zimmer Inc.PDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/11841-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 11841/24

### [Urgent Field Safety Notice for Connecting Tubes by Extrudan S.. z o.o ZakrzewoPDF, 164KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/16775-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - drainages and suction systems **Reference** 16775/24

### [Urgent Field Safety Notice for RAL Diff-Quik Fixative solution by RAL DIAGNOSTICSPDF, 601KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16310-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - haematological, histological and cytological products **Reference** 16310/24

### [Urgent Field Safety Notice for CardioLab, ComboLab by GE Medical Systems Information Technologies, Inc.PDF, 294KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/16014-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 16014/24

### [Urgent Field Safety Notice for Height Adjustable (HA) FlexTrak Trolley by Philips Medical Systems Nederland B.V.PDF, 577KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/15021-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** Electromedical fields - equipment for MR tomography **Reference** 15021/24

### [Urgent Field Safety Notice for DeepUnity Diagnost by DH Healthcare GmbHPDF, 295KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/18027-24_kundeninfo_en.pdf?__blob=publicationFile)13. June 2024 Medical devicesCustomer information

**Product group** Radiological technology - auxiliary equipment and supplies for radiology / nuclear medicine **Reference** 18027/24

### [Urgent Field Safety Notice for Proclaim, Infinity by Abbott - Neuromodulation DivisionPDF, 192KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/18134-24_kundeninfo_en.pdf?__blob=publicationFile)12. June 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - biostimulators **Reference** 18134/24

### [Urgent Field Safety Notice for Proclaim, Infinity by Abbott - Neuromodulation DivisionPDF, 190KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/18136-24_kundeninfo_en.pdf?__blob=publicationFile)12. June 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - biostimulators **Reference** 18136/24

### [Urgent Field Safety Notice for LumiraDx Platform Instrument V5E by LumiraDx UK LtdPDF, 205KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16661-24_kundeninfo_en.pdf?__blob=publicationFile)11. June 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 16661/24

### [Urgent Field Safety Notice for Endo-Model-M & Endo-Model SL (Tibial components) by Waldemar Link GmbH & Co. KGPDF, 3MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/16269-24_kundeninfo_en.pdf?__blob=publicationFile)

### 11. June 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 16269/24

### [Urgent Field Safety Notice for BeneHeart D1 Defibrilator/Monitor by SHENZSHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO., LTDPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/16854-24_kundeninfo_en.pdf?__blob=publicationFile)11. June 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 16854/24

### [Urgent Field Safety Notice for Aqualine, Aqualine S, Aqualine RCA, Aqualine D by Haemotronic S.p.A.PDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/18050-24_kundeninfo_en.pdf?__blob=publicationFile)10. June 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - dialysis technology **Reference** 18050/24

### [Urgent Field Safety Notice for LymphoTrack Dx - MiSeq by Invivoscribe Technologies, IncPDF, 4MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/15873-24_kundeninfo_en.pdf?__blob=publicationFile)06. June 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 15873/24

### [Urgent Field Safety Notice for LIBERTY PE LINER by ATF implantsPDF, 479KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/14603-24_kundeninfo_en.pdf?__blob=publicationFile)06. June 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 14603/24

### [Urgent Field Safety Notice for mint Lesion by Mint Medical GmbHPDF, 612KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/17788-24_kundeninfo_en.pdf?__blob=publicationFile)06. June 2024 Medical devicesCustomer information

**Product group** Radiological technology - auxiliary equipment and supplies for radiology / nuclear medicine **Reference** 17788/24

### [Urgent Field Safety Notice for Epicite hydro by JeNaCell GmbHPDF, 608KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/20/2024/17362-24_kundeninfo_en.pdf?__blob=publicationFile)06. June 2024 Medical devicesCustomer information

**Product group** Dressings / Pads - dressings **Reference** 17362/24

### [Urgent Field Safety Notice for Olympus EndoDis Pro by Ecolab Deutschland GmbHPDF, 514KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/16923-24_kundeninfo_en.pdf?__blob=publicationFile)06. June 2024 Medical devicesCustomer information

**Product group** General equipment for medical treatment - cleaning / disinfection / sterilisation **Reference** 16923/24

### [Urgent Field Safety Notice for CentriMag 2nd Generation Primary Console with Em-tec Adult Flow Probe, OUS by Thoratec Switzerland GmbHPDF, 390KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/16318-24_kundeninfo_en.pdf?__blob=publicationFile)04. June 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 16318/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 796KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/17164-24_kundeninfo_en.pdf?__blob=publicationFile)04. June 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 17164/24

### [Urgent Field Safety Notice for Several Ziehm device types and OEM products by Ziehm Imaging GmbHPDF, 206KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/16819-24_kundeninfo_en.pdf?__blob=publicationFile) 04. June 2024 Medical devicesCustomer information

**Product group** Radiological technology - mobile radiological diagnostic facilities **Reference** 16819/24

### [Urgent Field Safety Notice for Provo.X by Ganshorn Medizin Electronic GmbHPDF, 630KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/16994-24_kundeninfo_en.pdf?__blob=publicationFile)04. June 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic therapeutic equipment **Reference** 16994/24

### [Urgent Field Safety Notice for Defigard HD-7 by Schiller Medical SASPDF, 110KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/16857-24_kundeninfo_en.pdf?__blob=publicationFile)03. June 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 16857/24

### [Urgent Field Safety Notice for RocheDiabetes Care Platform by Roche Diabetes Care GmbHPDF, 242KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16820-24_kundeninfo_en.pdf?__blob=publicationFile)03. June 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 16820/24

### [Urgent Field Safety Notice for Trevo Retrievers/Microcatheters/Synchro Guide wire by Stryker Neurovascular-Utah-Salt Lake CityPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/17453-24_kundeninfo_en.pdf?__blob=publicationFile)03. June 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 17453/24

### [Urgent Field Safety Notice for MINICAP IMMUNOTYPING, CAPILLARYS IMMUNOTYPING, CAPI 3 by SEBIAPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16592-24_kundeninfo_en.pdf?__blob=publicationFile)29. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - immunological products **Reference** 16592/24

### [Urgent Field Safety Notice for Direxion Fathom-16 System by Boston Scientific Corporation MarlboroughPDF, 206KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/16659-24_kundeninfo_en.pdf?__blob=publicationFile)29. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 16659/24

### [Urgent Field Safety Notice for DxI 9000 Access Immunoassay Analyzer by Beckman Coulter Inc.PDF, 233KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/13028-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 13028/24

### [Urgent Field Safety Notice for Achieva 1.5T, Achieva 1.5T Conversion, Achieva 1.5 by Philips Medical Systems Nederland B.V.PDF, 558KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/13403-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** Electromedical fields - equipment for MR tomography **Reference** 13403/24

### [Urgent Field Safety Notice for AXIOM Multix MT/MP/Swing/Top, Vertix MD/Solitaire by Siemens Healthcare GmbH, X-Ray Products (XP)PDF, 916KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/16517-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** Radiological technology - stationary radiological equipment **Reference** 16517/24

### [Urgent Field Safety Notice for Flow-i C20, Flow-i C30, Flow-i C40, Flow-c, Flow-e by Maquet Critical Care ABPDF, 297KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/13178-24_kundeninfo_en.pdf?__blob=publicationFile) 28. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 13178/24

### [Urgent Field Safety Notice for Vivid S60 / S70 by GE Medical Systems Israel, UltrasoundPDF, 295KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/16610-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic diagnostic equipment **Reference** 16610/24

### [Urgent Field Safety Notice for Micro-Volumenleitung by POLYBOND INDIA PVT. LTD.PDF, 428KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/16634-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology **Reference** 16634/24

### [Urgent Field Safety Notice for RAPIDPoint 500e by Siemens Healthcare Diagnostics Inc. TarrytownPDF, 192KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/16434-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 16434/24

### [Urgent Field Safety Notice for Dako CoverStainer, Dako CoverStainer CPO by Agilent Technologies SingaporePDF, 228KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/14240-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - instruments, apparatuses and systems **Reference** 14240/24

### [Urgent Field Safety Notice for Hamilton-C6 by Hamilton Medical AGPDF, 883KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/14623-24_kundeninfo_en.pdf?__blob=publicationFile)28. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 14623/24

### [Urgent Field Safety Notice for Vivid E80 / E90 / E95 / S60N / S70N by GE Vingmed Ultrasound ASPDF, 296KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/16611-24_kundeninfo_en.pdf?__blob=publicationFile)27. May 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic diagnostic equipment **Reference** 16611/24

### [Urgent Field Safety Notice for LEDVISION by Surgiris S.A.S.PDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/16345-24_kundeninfo_en.pdf?__blob=publicationFile)27. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 16345/24

### [Urgent Field Safety Notice for Mako Total Knee by Stryker Orthopaedics-MahwahPDF, 944KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/16314-24_kundeninfo_en.pdf?__blob=publicationFile)27. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 16314/24

### [Urgent Field Safety Notice for Akku für Lifepak 20e by Axcom GmbH (Willich)PDF, 253KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/11906-24_kundeninfo_en.pdf?__blob=publicationFile)27. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 11906/24

### [Urgent Field Safety Notice for BiPAP A30, BiPAP A40 Ventilator by Respironics Inc.PDF, 680KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/10027-24_kundeninfo_en.pdf?__blob=publicationFile) 24. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 10027/24

### [Urgent Field Safety Notice for OmniLab Advanced + by Respironics, Inc. PittsburghPDF, 782KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/10022-24_kundeninfo_en.pdf?__blob=publicationFile)24. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 10022/24

### [Urgent Field Safety Notice for IOMAX Cortical Module by Cadwell Industries, Inc.PDF, 360KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/16315-24_kundeninfo_en.pdf?__blob=publicationFile)24. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 16315/24

### [Urgent Field Safety Notice for CUSA EXcel 36kHz Straight Handpiece by Integra LifeSciences Corp TullamorePDF, 442KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/16193-24_kundeninfo_en.pdf?__blob=publicationFile)24. May 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic therapeutic equipment **Reference** 16193/24

### [Urgent Field Safety Notice for Freka Sonde CH 15, 100 cm TR by Fresenius Kabi Deutschland GmbHPDF, 207KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/15321-24_kundeninfo_en.pdf?__blob=publicationFile)24. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - probes **Reference** 15321/24

### [Urgent Field Safety Notice for Phosphorus Inorganic, Molybdate by DIALAB GmbHPDF, 561KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/14430-24_kundeninfo_en.pdf?__blob=publicationFile)22. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 14430/24

### [Urgent Field Safety Notice for UNI-VENT MODEL 731 by ZOLL Medical CorporationPDF, 315KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/15365-24_kundeninfo_en.pdf?__blob=publicationFile)22. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 15365/24

### [Urgent Field Safety Notice for MEGA SOFT Pediatric Patient Return Electrode by Megadyne Medical Products Inc.PDF, 338KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/14588-24_kundeninfo_en.pdf?__blob=publicationFile)21. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 14588/24

### [Urgent Field Safety Notice for BD Multitest 6-Farben-TBNK by Becton, Dickinson and Company MilpitasPDF, 458KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/15094-24_kundeninfo_en.pdf?__blob=publicationFile)21. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - haematological, histological and cytological products **Reference** 15094/24

### [Urgent Field Safety Notice for STANDARD F2400 Analyzer by S. BIOSENSOR, INC.PDF, 756KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/15243-24_kundeninfo_en.pdf?__blob=publicationFile)21. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 15243/24

### [Urgent Field Safety Notice for Perfusionsleitung 150 cm by Shandong Lee Med Technology Co., Ltd.PDF, 607KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/14408-24_kundeninfo_en.pdf?__blob=publicationFile) 21. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology **Reference** 14408/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 350KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/14581-24_kundeninfo_en.pdf?__blob=publicationFile)21. May 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 14581/24

### [Urgent Field Safety Notice for Fluido Trauma Set Sterile by The Surgical Company International B.V.PDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/12813-24_kundeninfo_en.pdf?__blob=publicationFile)17. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - equipment for collecting blood products and peripheral stem cells **Reference** 12813/24

### [Urgent Field Safety Notice for VICRYL, VICRYL Plus, PDS II, PDS Plus, MONOCRYL, MONOCRYL PLUS Suture by Johnson & Johnson Int.PDF, 639KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/20/2024/15347-24_kundeninfo_en.pdf?__blob=publicationFile)17. May 2024 Medical devicesCustomer information

**Product group** Dressings / Pads - surgical sutures, vascular loops etc. **Reference** 15347/24

### [Urgent Field Safety Notice for IOMAX Cortical Module by Cadwell Industries, Inc.PDF, 199KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/14728-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 14728/24

### [Urgent Field Safety Notice for CARESCAPE Canvas 1000, CARESCAPE Canvas Smart Display, CARESCAPE B650 - model MBB313, CARESCAPE B650 - model MBB323, CARESCAPE B850 - model MBC303, CARESCAPE B850 - model MBC313, CARESCAPE B850 - model MBC323, by GE Healthcare Finland OyPDF, 350KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/13951-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 13951/24

### [Urgent Field Safety Notice for Life Scope Patient Monitoring Devices by Nihon Kohden Corp.PDF, 195KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/15337-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 15337/24

### [Urgent Field Safety Notice for multiFiltrate PRO by Fresenius Medical Care AG & Co. KGaAPDF, 231KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/15475-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - dialysis technology **Reference** 15475/24

### [Urgent Field Safety Notice for Accu-Chek Guide by Roche Diabetes Care GmbHPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/14404-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 14404/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 418KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/13623-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 13623/24

### [Urgent Field Safety Notice for MUTARS RS Schaft, Verlängerungshülse by implantcast GmbHPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/15467-24_kundeninfo_en.pdf?__blob=publicationFile) 16. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 15467/24

### [Urgent Field Safety Notice for Ingenia with Evolution Upgrade by Philips Medical Systems Nederland B.V.PDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/13269-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Electromedical fields - equipment for MR tomography **Reference** 13269/24

### [Urgent Field Safety Notice for Optima Coil System, Prestige Coil System by BALT USA LLCPDF, 481KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/15480-24_kundeninfo_en.pdf?__blob=publicationFile)16. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - special implants **Reference** 15480/24

### [Urgent Field Safety Notice for REAL INTELLIGENCE CORI by Blue Belt Technologies, Inc.PDF, 308KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/14732-24_kundeninfo_en.pdf?__blob=publicationFile)15. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 14732/24

### [Urgent Field Safety Notice for Exactech Optetrak Patella UHMWPE by EXACTECH, Inc.PDF, 392KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/12565-24_kundeninfo_en.pdf?__blob=publicationFile)15. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 12565/24

### [Urgent Field Safety Notice for Molex SFP+-Modul by BarcoPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/13425-24_kundeninfo_en.pdf?__blob=publicationFile)14. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 13425/24

### [Urgent Field Safety Notice for Katheterset Arteriofix 20 G / 80 mm by B. Braun Melsungen AGPDF, 486KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/13106-24_kundeninfo_en.pdf?__blob=publicationFile)14. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 13106/24

### [Urgent Field Safety Notice for Fabian HFO / HFOi by Acutronic Medical Systems AGPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/12264-24_kundeninfo_en.pdf?__blob=publicationFile)14. May 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 12264/24

### [Urgent Field Safety Notice for LINK Endo-Model EVO -W, Femoral Component by Waldemar Link GmbH & Co. KGPDF, 3MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/13821-24_kundeninfo_en.pdf?__blob=publicationFile)14. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 13821/24

### [Urgent Field Safety Notice for Endoscope lens cleaner, gas/fluid, single-use by Gyrus ACMI - Olympus - OSTAPDF, 257KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/13632-24_kundeninfo_en.pdf?__blob=publicationFile)14. May 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - endoscopes **Reference** 13632/24

### [Urgent Field Safety Notice for Overtube in Suprasorb CNP endo Kit Oral by Lohmann und Rauscher GmbH & Co. KGPDF, 175KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/14608-24_kundeninfo_en.pdf?__blob=publicationFile) 13. May 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - endoscopes **Reference** 14608/24

### [Urgent Field Safety Notice for HeartMate System Monitor by Thoratec CorporationPDF, 576KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/14840-24_kundeninfo_en.pdf?__blob=publicationFile)13. May 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - artificial hearts **Reference** 14840/24

### [Urgent Field Safety Notice for Rad-G Pulse Oximeter by Masimo CorporationPDF, 222KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/09986-24_kundeninfo_en.pdf?__blob=publicationFile)13. May 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 09986/24

### [Urgent Field Safety Notice for MultiPulse HoPLUS by Asclepion Laser Technologies GmbHPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/14228-24_kundeninfo_en.pdf?__blob=publicationFile)10. May 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - laser technology **Reference** 14228/24

### [Urgent Field Safety Notice for ClearCut & A-OK V-Lance ophthalmic knives by Alcon Laboratories, Inc.PDF, 122KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/13610-24_kundeninfo_en.pdf?__blob=publicationFile)10. May 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - eye surgery **Reference** 13610/24

### [Urgent Field Safety Notice for Hoffmann LRF Wire Tensioner by Stryker Trauma AGPDF, 650KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/14246-24_kundeninfo_en.pdf?__blob=publicationFile)08. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 14246/24

### [Urgent Field Safety Notice for EXETER 2.5 I M PLUG by Stryker Joint ReplacementPDF, 1,011KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/13427-24_kundeninfo_en.pdf?__blob=publicationFile)08. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 13427/24

### [Urgent Field Safety Notice for Aeson Total Artificial Heart by CARMAT SAPDF, 131KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/39484-23_kundeninfo_en.pdf?__blob=publicationFile)08. May 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - artificial hearts **Reference** 39484/23

### [Urgent Field Safety Notice for CORTSCR ø3.5 SELF-TAP L18 TAN by Oberdorf Synthes Produktions GmbHPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/38850-23_kundeninfo_en.pdf?__blob=publicationFile)08. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 38850/23

### [Urgent Field Safety Notice for Aeson Total Artificial Heart by CARMAT SAPDF, 375KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/29708-23_kundeninfo_en.pdf?__blob=publicationFile)08. May 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - artificial hearts **Reference** 29708/23

### [Urgent Field Safety Notice for FiberOptix Ultra 8 IAB Ultra 8 IAB UltraFlex IAB by Arrow International Inc. USPDF, 3MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/13696-24_kundeninfo_en.pdf?__blob=publicationFile)07. May 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 13696/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/13256-24_kundeninfo_en.pdf?__blob=publicationFile)07. May 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 13256/24

### [Urgent Field Safety Notice for LARAH Hookup by Cantel Medical (Italy) S.r.l.PDF, 338KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/13044-24_kundeninfo_en.pdf?__blob=publicationFile)07. May 2024 Medical devicesCustomer information

**Product group** General equipment for medical treatment - cleaning / disinfection / sterilisation **Reference** 13044/24

### [Urgent Field Safety Notice for EMPOWR 3D Knee System & EMPOWR P.S. Knee System by Encore Medical, LP (dba DJO Surgical)PDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/03340-24_kundeninfo_en.pdf?__blob=publicationFile)07. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 03340/24

### [Urgent Field Safety Notice for Kieferhöhlenstanze, Galea-Federhaken, Gaumenhaken, Biopsie- und Fasszange, optische Schere, Arbeitseinsatz mit Lenkhebel by Karl Storz S. & Co KGPDF, 266KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/35998-23_kundeninfo_en.pdf?__blob=publicationFile)03. May 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - bone surgery **Reference** 35998/23

### [Urgent Field Safety Notice for Vercise Genus by Boston Scientific Neuromodulation CorporationPDF, 129KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/12390-24_kundeninfo_en.pdf?__blob=publicationFile)02. May 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - biostimulators **Reference** 12390/24

### [Urgent Field Safety Notice for CGM CLINICAL Medication by CompuGroup Medical Deutschland AGPDF, 459KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/13704-24_kundeninfo_en.pdf?__blob=publicationFile)02. May 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 13704/24

### [Urgent Field Safety Notice for EXENT analyser by The Binding Site Group LimitedPDF, 789KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/11530-24_kundeninfo_en.pdf?__blob=publicationFile)02. May 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 11530/24

### [Urgent Field Safety Notice for OXINIUM FEMORAL HEAD by Smith & Nephew, Inc.,PDF, 170KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/13366-24_kundeninfo_en.pdf?__blob=publicationFile)02. May 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 13366/24

### [Urgent Field Safety Notice for Bellavita NOVA by Drive Medical GmbH & Co. KGPDF, 549KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/07354-24_kundeninfo_en.pdf?__blob=publicationFile)02. May 2024 Medical devicesCustomer information

**Product group** General equipment for medical treatment - ward equipment and equipment for emergency medical services **Reference** 07354/24

### [Urgent Field Safety Notice for CGM CLINICAL Medication by CompuGroup Medical Deutschland AGPDF, 577KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/12879-24_kundeninfo_en.pdf?__blob=publicationFile) 02. May 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 12879/24

### [Urgent Field Safety Notice for HeartSine Samaritan PAD by Heartsine Technologies LimitedPDF, 573KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/12077-24_kundeninfo_en.pdf?__blob=publicationFile)30. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 12077/24

### [Urgent Field Safety Notice for IMMULITE 2000 Anti-TG Ab by Siemens Healthcare Diagnostics Products Ltd.PDF, 794KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/13164-24_kundeninfo_en.pdf?__blob=publicationFile)30. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - immunological products **Reference** 13164/24

### [Urgent Field Safety Notice for Various Mapleson F Anaesthetic Breathing Systems by Intersurgical Ltd.PDF, 384KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/13404-24_kundeninfo_en.pdf?__blob=publicationFile)30. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 13404/24

### [Urgent Field Safety Notice for Diverse MiniMed Insulin Pumps by Medtronic MinimedPDF, 769KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2022/12658-22_kundeninfo_en.pdf?__blob=publicationFile)30. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology **Reference** 12658/22

### [Urgent Field Safety Notice for Defibrillators by Medtronic IncPDF, 216KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/12866-24_kundeninfo_en.pdf?__blob=publicationFile)29. April 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - defibrillators **Reference** 12866/24

### [Urgent Field Safety Notice for BD neXus V700 Infusion Pump by MEDCAPTAIN MEDICAL TECHNOLOGY CO., LTD.PDF, 182KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/11736-24_kundeninfo_en.pdf?__blob=publicationFile)29. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology **Reference** 11736/24

### [Urgent Field Safety Notice for HeartWare Ventricular Assist System by Heartware, Inc.PDF, 624KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/21994-20_kundeninfo_en.pdf?__blob=publicationFile)29. April 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - artificial hearts **Reference** 21994/20

### [Urgent Field Safety Notice for PROBP 3400, SPOT VISION SCREENER by Welch Allyn IncPDF, 672KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/13386-24_kundeninfo_en.pdf?__blob=publicationFile)29. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electronic blood pressure monitor **Reference** 13386/24

### [Urgent Field Safety Notice for S.A. MAX, STA-R EVOLUTION, STA COMPACT/COMPACT MAX by Diagnostica StagoPDF, 224KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/10528-24_kundeninfo_en.pdf?__blob=publicationFile)26. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - haematological, histological and cytological products **Reference** 10528/24

### [Urgent Field Safety Notice for DIVA 24 Inc. Widescreen LCD Touch Display by Philips Medizin Systeme Böblingen GmbHPDF, 261KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/05746-24_kundeninfo_en.pdf?__blob=publicationFile) 26. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 05746/24

### [Urgent Field Safety Notice for Esoflip dialation catheter 30mm by Covidien llcPDF, 452KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/13233-24_kundeninfo_en.pdf?__blob=publicationFile)26. April 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - precision instruments for gastrointestinal and urological endoscopy and hysteroscopy **Reference** 13233/24

### [Urgent Field Safety Notice for CGM CLINICAL Medication by CompuGroup Medical Deutschland AGPDF, 597KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/12878-24_kundeninfo_en.pdf?__blob=publicationFile)25. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 12878/24

### [Urgent Field Safety Notice for Stylage M Lidocaine by Laboratoires VivacyPDF, 263KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/11368-24_kundeninfo_en.pdf?__blob=publicationFile)25. April 2024 Medical devicesCustomer information

**Product group** Non-active implants - materials for implants **Reference** 11368/24

### [Urgent Field Safety Notice for Legend Medium Roth orthodontic brackets by GC Orthodontics Europe GmbHPDF, 460KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/03/2024/11492-24_kundeninfo_en.pdf?__blob=publicationFile)25. April 2024 Medical devicesCustomer information

**Product group** Dental products - orthodontic equipment **Reference** 11492/24

### [Urgent Field Safety Notice for StripAssay by ViennaLab Diagnostics GmbHPDF, 225KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/10890-24_kundeninfo_en.pdf?__blob=publicationFile)25. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - haematological, histological and cytological products **Reference** 10890/24

### [Urgent Field Safety Notice for Calibration Serum Level 3 \_ CAL2351 by Randox Laboratories LtdPDF, 186KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/08561-24_kundeninfo_en.pdf?__blob=publicationFile)24. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 08561/24

### [Urgent Field Safety Notice for Kanülen, verschiedene by Medtronic IncPDF, 4MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/08735-24_kundeninfo_en.pdf?__blob=publicationFile)24. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - syringes and cannulas **Reference** 08735/24

### [Urgent Field Safety Notice for Randox Evidence MULTISTAT by Randox Laboratories LtdPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/11339-24_kundeninfo_en.pdf?__blob=publicationFile)24. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 11339/24

### [Urgent Field Safety Notice for Tempus LS by Schiller AGPDF, 875KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/11517-24_kundeninfo_en.pdf?__blob=publicationFile)24. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 11517/24

### [Urgent Field Safety Notice for Infinity Acute Care System (IACS) by Draeger Medical Systems, IncPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/12193-24_kundeninfo_en.pdf?__blob=publicationFile) 24. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 12193/24

### [Urgent Field Safety Notice for Q-Care by Health Information Management GmbH (HIM)PDF, 157KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/12564-24_kundeninfo_en.pdf?__blob=publicationFile)24. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 12564/24

### [Urgent Field Safety Notice for INFINITY RESECTION GUIDE ADJUSTMENT BLOCK by Wright Medical TechnologyPDF, 441KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/07757-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - bone surgery **Reference** 07757/24

### [Urgent Field Safety Notice for Cranial Kit - No Drugs by INTEGRA Pain managementPDF, 314KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/11731-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - neurosurgery **Reference** 11731/24

### [Urgent Field Safety Notice for Electrosurgical Electrode by Dongguan QueenMed Equipment Mfg Co LtdPDF, 759KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/12518-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 12518/24

### [Urgent Field Safety Notice for StealthStation S. Navigation by Medtronic Navigation Inc.PDF, 512KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/12216-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - navigation systems **Reference** 12216/24

### [Urgent Field Safety Notice for SureForm45/60, Cannula Seal, Arm Drape, Obturator by Intuitive Surgical, Inc.PDF, 528KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/07139-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 07139/24

### [Urgent Field Safety Notice for Leica Biosystems Tissue processor (HistoCore Pegasus/Plus) by Leica Biosystems Nussloch GmbHPDF, 726KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/12056-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - instruments, apparatuses and systems **Reference** 12056/24

### [Urgent Field Safety Notice for Vanguard Anterior Stabilized Tibial Bearing by Biomet Orthopedics, LLCPDF, 827KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/11529-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 11529/24

### [Urgent Field Safety Notice for Olympus EndoDis Pro by Ecolab Deutschland GmbHPDF, 826KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/02/2024/11109-24_kundeninfo_en.pdf?__blob=publicationFile)23. April 2024 Medical devicesCustomer information

**Product group** General equipment for medical treatment - cleaning / disinfection / sterilisation **Reference** 11109/24

### [Urgent Field Safety Notice for Cardinal Health Branded Monoject Syringe by Smiths Medical ASD, lnc.PDF, 376KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/10841-24_kundeninfo_en.pdf?__blob=publicationFile) 23. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - syringes and cannulas **Reference** 10841/24

### [Urgent Field Safety Notice for ABX Pentra Urea CP by HORIBA ABX SASPDF, 446KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/11019-24_kundeninfo_en.pdf?__blob=publicationFile)22. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - immunological products **Reference** 11019/24

### [Urgent Field Safety Notice for Mi1250 SYNCHRONY 2 STANDARD by MED-EL Elektromedizinische Geraete GmbHPDF, 159KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/12713-24_kundeninfo_en.pdf?__blob=publicationFile)22. April 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - biostimulators **Reference** 12713/24

### [Urgent Field Safety Notice for Digital Mobile X-ray Imaging System by SAMSUNG ELECTRONICS Co., Ltd.PDF, 371KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/11391-24_kundeninfo_en.pdf?__blob=publicationFile)19. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - mobile radiological diagnostic facilities **Reference** 11391/24

### [Urgent Field Safety Notice for Mazor X System by Mazor Robotics LtdPDF, 110KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/31712-23_kundeninfo_en.pdf?__blob=publicationFile)19. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - navigation systems **Reference** 31712/23

### [Urgent Field Safety Notice for VITELENE PE-INSERT ID 22,2, 28, 32 und 36 MM by Aesculap AGPDF, 3MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/12190-24_kundeninfo_en.pdf?__blob=publicationFile)19. April 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 12190/24

### [Urgent Field Safety Notice for Leg holder by Maquet GmbHPDF, 177KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/12208-24_kundeninfo_en.pdf?__blob=publicationFile)19. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 12208/24

### [Urgent Field Safety Notice for ImagiQ2, Operating table by Stille ABPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/08455-24_kundeninfo_en.pdf?__blob=publicationFile)18. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - auxiliary equipment and supplies for radiology / nuclear medicine **Reference** 08455/24

### [Urgent Field Safety Notice for Origio Sperm Wash Medium by Cooper Surgical Inc.PDF, 394KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/21/2024/04409-24_kundeninfo_en.pdf?__blob=publicationFile)17. April 2024 Medical devicesCustomer information

**Product group** In vitro fertilization - others **Reference** 04409/24

### [Urgent Field Safety Notice for CliniMACS Prodigy TS 310 by Miltenyi Biotec GmbHPDF, 2MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/08126-24_kundeninfo_en.pdf?__blob=publicationFile)17. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - equipment for collecting blood products and peripheral stem cells **Reference** 08126/24

### [Urgent Field Safety Notice for Philips MR systems by Philips Medical Systems Nederland B.VPDF, 613KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/08489-24_kundeninfo_en.pdf?__blob=publicationFile) 17. April 2024 Medical devicesCustomer information

**Product group** Electromedical fields - equipment for MR tomography **Reference** 08489/24

### [Urgent Field Safety Notice for EchoTip Ultra Endoscopic Ultrasound Needle; EchoTip Ultra HD Ultrasound Access Needle by Cook Ireland LimitedPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/11024-24_kundeninfo_en.pdf?__blob=publicationFile)17. April 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - endoscopes **Reference** 11024/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 432KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/06468-24_kundeninfo_en.pdf?__blob=publicationFile)16. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 06468/24

### [Urgent Field Safety Notice for CHONDROGRID by BIOTECK SRLPDF, 769KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/11210-24_kundeninfo_en.pdf?__blob=publicationFile)16. April 2024 Medical devicesCustomer information

**Product group** Non-active implants - other implants **Reference** 11210/24

### [Urgent Field Safety Notice for Care Plus 1000, 2000, 3000, 4000 by Datex-Ohmeda, Inc.PDF, 688KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/16/2024/03496-24_kundeninfo_en.pdf?__blob=publicationFile)16. April 2024 Medical devicesCustomer information

**Product group** Physical therapy - climatotherapy **Reference** 03496/24

### [Urgent Field Safety Notice for 2.8 TriLock Screw 22mm, HD7, 1/Pkg by Medartis AGPDF, 168KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/11/2024/11851-24_kundeninfo_en.pdf?__blob=publicationFile)16. April 2024 Medical devicesCustomer information

**Product group** Non-active implants - bone surgery **Reference** 11851/24

### [Urgent Field Safety Notice for Adamonitor S. by Otsuka Electronics Co., Ltd.PDF, 1,007KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/10839-24_kundeninfo_en.pdf?__blob=publicationFile)16. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - therapeutic apheresis procedures **Reference** 10839/24

### [Urgent Field Safety Notice for CGM CLINICAL Medication by CompuGroup Medical Deutschland AGPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/11226-24_kundeninfo_en.pdf?__blob=publicationFile)15. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 11226/24

### [Urgent Field Safety Notice for Portex Blue Line Siliconised PVC Tracheotomy Tube by Smiths Medical ASD, Inc. (Plymouth) is no. part of ICU MedicalPDF, 403KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/11589-24_kundeninfo_en.pdf?__blob=publicationFile)15. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 11589/24

### [Urgent Field Safety Notice for ACE BLADDER EVACUATOR by ACE MEDICAL DEVICES PVT LTDPDF, 278KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/02039-24_kundeninfo_en.pdf?__blob=publicationFile)15. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 02039/24

### [Urgent Field Safety Notice for VACS III by OSYPKA AGPDF, 549KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/10960-24_kundeninfo_en.pdf?__blob=publicationFile) 15. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - catheters **Reference** 10960/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 364KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/08379-24_kundeninfo_en.pdf?__blob=publicationFile)12. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 08379/24

### [Urgent Field Safety Notice for DeepUnity Diagnost by DH Healthcare GmbHPDF, 281KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/11587-24_kundeninfo_en.pdf?__blob=publicationFile)12. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - auxiliary equipment and supplies for radiology / nuclear medicine **Reference** 11587/24

### [Urgent Field Safety Notice for ORBIS Medication by DH Healthcare GmbHPDF, 300KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/05518-24_kundeninfo_en.pdf?__blob=publicationFile)11. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 05518/24

### [Urgent Field Safety Notice for RayStation by RaySearch Laboratories ABPDF, 794KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/18/2024/10321-24_kundeninfo_en.pdf?__blob=publicationFile)11. April 2024 Medical devicesCustomer information

**Product group** Radiotherapy / Radiation protection - radiotherapy treatment planning systems **Reference** 10321/24

### [Urgent Field Safety Notice for AIRVO2 Humidifier / myAIRVO2 Humidifier by Fisher & Paykel Healthcare LtdPDF, 302KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/10592-24_kundeninfo_en.pdf?__blob=publicationFile)11. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 10592/24

### [Urgent Field Safety Notice for DYNASEAT by WINNCARE FRANCEPDF, 256KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/15/2024/06402-24_kundeninfo_en.pdf?__blob=publicationFile)10. April 2024 Medical devicesCustomer information

**Product group** Orthopaedic / Rehabilitation technology - mobility aids **Reference** 06402/24

### [Urgent Field Safety Notice for CareEvent by Philips Medical SystemsPDF, 283KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/36992-23_kundeninfo_en.pdf?__blob=publicationFile)10. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrodiagnostics **Reference** 36992/23

### [Urgent Field Safety Notice for Endocavity Probe Cover by Karex Industries Sdn. Bhd.PDF, 782KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/11300-24_kundeninfo_en.pdf?__blob=publicationFile)10. April 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic diagnostic equipment **Reference** 11300/24

### [Urgent Field Safety Notice for DeepUnity Viewer 2.x by DH Healthcare GmbHPDF, 318KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/17/2024/06472-24_kundeninfo_en.pdf?__blob=publicationFile)10. April 2024 Medical devicesCustomer information

**Product group** Radiological technology - auxiliary equipment and supplies for radiology / nuclear medicine **Reference** 06472/24

### [Urgent Field Safety Notice for Ureteral Dilator (Ch/Fr 12-14, length 48 cm) by Coloplast A/SPDF, 401KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/14/2024/08934-24_kundeninfo_en.pdf?__blob=publicationFile) 09. April 2024 Medical devicesCustomer information

**Product group** Optics / Precision engineering - precision instruments for gastrointestinal and urological endoscopy and hysteroscopy **Reference** 08934/24

### [Urgent Field Safety Notice for NEXUS / PDMS by NEXUS / DIS GmbHPDF, 94KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/09/2024/12649-23_kundeninfo_en.pdf?__blob=publicationFile)09. April 2024 Medical devicesCustomer information

**Product group** Medical data processing (software) - others **Reference** 12649/23

### [Urgent Field Safety Notice for Trilogy Evo, Trilogy Evo O2, Trilogy EV300 by Respironics, Inc. PittsburghPDF, 186KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/07768-24_kundeninfo_en.pdf?__blob=publicationFile)09. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - anaesthesia and medical gas supply **Reference** 07768/24

### [Urgent Field Safety Notice for Bipolar Pacing Catheter Spike Flow by Bioptimal International Pte. Ltd.PDF, 710KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/11040-24_kundeninfo_en.pdf?__blob=publicationFile)09. April 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - implantable leads **Reference** 11040/24

### [Urgent Field Safety Notice for Different Zeta Corp Lab reagents by Zeta CorporationPDF, 1MB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/03260-24_kundeninfo_en.pdf?__blob=publicationFile)08. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - immunological products **Reference** 03260/24

### [Urgent Field Safety Notice for Philips-5000 Compact Series Ultrasound Systems by Philips Ultrasound, Inc.PDF, 818KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/19/2024/09735-24_kundeninfo_en.pdf?__blob=publicationFile)08. April 2024 Medical devicesCustomer information

**Product group** Ultrasonics - ultrasonic diagnostic equipment **Reference** 09735/24

### [Urgent Field Safety Notice for Impella CP, Impella 5.5, Impella RP, Impella 5.0 by ABIOMED Inc.PDF, 188KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/10/2024/05320-24_kundeninfo_en.pdf?__blob=publicationFile)05. April 2024 Medical devicesCustomer information

**Product group** Medical electronics / Electromedical devices - electrotherapy **Reference** 05320/24

### [Urgent Field Safety Notice for Affinis Inverse Drill bit 2.5, Gen2 and 3.2 Gen2 by Mathys AGPDF, 201KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/09774-24_kundeninfo_en.pdf?__blob=publicationFile)05. April 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - bone surgery **Reference** 09774/24

### [Urgent Field Safety Notice for Multiva 1.5T by Philips Healthcare (Suzhou) Co.,LtdPDF, 386KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/04/2024/09761-24_kundeninfo_en.pdf?__blob=publicationFile)05. April 2024 Medical devicesCustomer information

**Product group** Electromedical fields - equipment for MR tomography **Reference** 09761/24

### [Urgent Field Safety Notice for EASYMOVE by FH INDUSTRIEPDF, 210KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/06/2024/09632-24_kundeninfo_en.pdf?__blob=publicationFile)05. April 2024 Medical devicesCustomer information

**Product group** Medical instruments for use in humans - bone surgery **Reference** 09632/24

### [Urgent Field Safety Notice for Aveir Leadless Pacemaker, Right Ventricle by S.. Jude Medical CRMDPDF, 435KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/01/2024/10613-24_kundeninfo_en.pdf?__blob=publicationFile) 04. April 2024 Medical devicesCustomer information

**Product group** Active implantable medical devices - cardiac pacemakers **Reference** 10613/24

### [Urgent Field Safety Notice for Xenios Konsole by Xenios AG a Fresenius Medical Care CompanyPDF, 424KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/12/2024/07597-24_kundeninfo_en.pdf?__blob=publicationFile)04. April 2024 Medical devicesCustomer information

**Product group** Surgical equipment/ Anaesthesia - surgical equipment **Reference** 07597/24

### [Urgent Field Safety Notice for CADD-Solis Ambulatory Infusion Pump by Smiths Medical ASD, Inc.PDF, 416KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/07/2024/09521-24_kundeninfo_en.pdf?__blob=publicationFile)03. April 2024 Medical devicesCustomer information

**Product group** Injections / Infusions / Transfusions / Dialysis - infusion technology **Reference** 09521/24

### [Urgent Field Safety Notice for Alinity m System by Abbott Molecular, IncPDF, 261KB, File does not meet accessibility standards](https://www.bfarm.de/SharedDocs/Kundeninfos/EN/08/2024/09161-24_kundeninfo_en.pdf?__blob=publicationFile)02. April 2024 Medical devicesCustomer information

**Product group** In-vitro diagnostics - equipment / products for clinical chemistry **Reference** 09161/24